{"text_format":"2","workbook":"xlsx","n_sheets":6,"sheets":["1-采集与抄表","2-分精度","3-能耗","4-租户","5-计算实例","6-计算日志"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1-采集与抄表","index":0,"n_rows":58,"n_cols":14,"rows_kept":58,"cut":false,"hidden":false,"merged":[[49,1,49,5],[50,1,50,5],[1,1,1,5],[2,1,2,5],[10,1,10,5],[30,1,30,5],[31,1,31,5],[1,9,1,13],[2,9,2,13],[10,9,10,13],[11,9,11,13],[20,9,20,13],[21,9,21,13],[27,9,27,13],[28,9,28,13],[11,1,11,5],[19,1,19,5],[20,1,20,5]]}
[]
[null,"original_month",{"$nulls":7},"originalreport_data"]
[null,"采集原始数据",{"$nulls":7},"抄表数据"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"meter","String",100,"√","仪表编号"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"receivetime","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"receivetime","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"data","Double",null,null,"数值",null,null,null,"data","Double",null,null,"数值"]
[]
[null,"original_present",{"$nulls":7},"originalreport_log"]
[null,"采集原始数据当前值",{"$nulls":7},"抄表日志"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"round","Long",null,"√","轮次"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"meter","String",100,null,"仪表编号"]
[null,"receivetime","String",20,null,"时间，格式yyyyMMddHHmmss",null,null,null,"funcid","Long",null,null,"功能号/参数编号"]
[null,"data","Double",null,null,"数值",null,null,null,"receivetime","String",20,null,"时间，格式yyyyMMddHHmmss"]
[{"$nulls":9},"operation","String",20,null,"操作insert、update、delete"]
[null,"original_flag"]
[null,"计算程序给异常原始数据打的标记",{"$nulls":7},"originalreport_round"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"抄表轮次"]
[null,"building","String",20,"√","项目编号",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"round_exist","Long",null,null,"当前轮次"]
[null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"round_used","Long",null,null,"计算到的轮次"]
[null,"data_flag","Long",null,null,"错误编码"]
[{"$nulls":9},"original_change_meter"]
[{"$nulls":9},"抄表换表"]
[{"$nulls":9},"列名称","列类型","长度","主键","说明"]
[null,"dy_pointlist",{"$nulls":7},"building","String",20,"√","项目编号"]
[null,"点位信息表",{"$nulls":7},"meter","String",100,"√","仪表编号"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"building","String",20,"√","项目编号",null,null,null,"receivetime","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"data_old","Double",null,null,"换表前数值"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"data_new","Double",null,null,"换表后数值"]
[null,"data_type","String",20,null,"数据类型Acc累计量，Inst瞬时量，EnumV枚举量等等"]
[null,"collect_cycle","String",20,null,"分精度计算周期"]
[null,"system","String",20,null,"所属系统"]
[null,"source","String",20,null,"数据来源"]
[null,"unit","String",20,null,"单位"]
[null,"address_1","String",20,null,"地址"]
[null,"address_2","String",20,null,"地址"]
[null,"address_3","String",20,null,"地址"]
[null,"address_4","String",20,null,"地址"]
[null,"remark_1","String",20,null,"备注"]
[null,"remark_2","String",20,null,"备注"]
[null,"remark_3","String",20,null,"备注"]
[]
[null,"dy_reportpointlist"]
[null,"抄表点位信息表"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号"]
[null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"data_type","String",20,null,"数据类型Acc累计量，Inst瞬时量，EnumV枚举量等等"]
[null,"collect_cycle","String",20,null,"分精度计算周期，默认小时"]
[null,"system","String",20,null,"所属系统"]

{"sheet":"2-分精度","index":1,"n_rows":26,"n_cols":14,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,9,1,13],[2,9,2,13],[17,1,17,5],[12,1,12,5],[16,1,16,5],[12,9,12,13],[13,9,13,13],[1,1,1,5],[2,1,2,5],[11,1,11,5],[15,1,15,5],[13,1,13,5]]}
[]
[null,"fjd_0_near_1min/5min/15min/1h/1d",{"$nulls":7},"fjd_0_rate_1min/5min/15min/1h/1d"]
[null,"分精度临近值0",{"$nulls":7},"枚举量开启率"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"meter","String",100,"√","仪表编号"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"data_flag","Long",null,null,"标记，0正常，其他异常",null,null,null,"data_flag","Long",null,null,"标记，0正常，其他异常"]
[null,"data_value","Double",null,null,"数值",null,null,null,"status_value","Double",null,null,"枚举值"]
[{"$nulls":9},"status_ratio","Double",null,null,"开启率"]
[null,"fjd_1_near_1min/5min/15min/1h/1d"]
[null,"分精度临近值1，自动修复",{"$nulls":7},"fjd_statinst_15min/1h/1d/1m/1y"]
[null,"参考fjd_0",{"$nulls":7},"瞬时量统计值"]
[{"$nulls":9},"列名称","列类型","长度","主键","说明"]
[null,"fjd_2_near_1min/5min/15min/1h/1d",{"$nulls":7},"building","String",20,"√","项目编号"]
[null,"分精度临近值2，手动修复",{"$nulls":7},"meter","String",100,"√","仪表编号"]
[null,"参考fjd_0",{"$nulls":7},"funcid","Long",null,"√","功能号/参数编号"]
[{"$nulls":9},"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[{"$nulls":9},"data_flag","Long",null,null,"标记，0正常，其他异常"]
[{"$nulls":9},"data_count","Long",null,null,"该时段参与统计的数据量"]
[{"$nulls":9},"data_avg","Double",null,null,"平均值"]
[{"$nulls":9},"data_max","Double",null,null,"最大值"]
[{"$nulls":9},"time_max","String",20,null,"最大值时间"]
[{"$nulls":9},"data_min","Double",null,null,"最小值"]
[{"$nulls":9},"time_min","String",20,null,"最小值时间"]

{"sheet":"3-能耗","index":2,"n_rows":29,"n_cols":14,"rows_kept":29,"cut":false,"hidden":false,"merged":[[21,9,21,13],[1,1,1,5],[2,1,2,5],[11,1,11,5],[12,1,12,5],[20,1,20,5],[21,1,21,5],[1,9,1,13],[2,9,2,13],[11,9,11,13],[12,9,12,13],[20,9,20,13]]}
[]
[null,"data_servicedata_15min/1h/1d/1m/1y",{"$nulls":7},"data_servicedata_max_1h/1d/1m/1y"]
[null,"电表能耗",{"$nulls":7},"电表能耗最大值"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"meter","String",100,"√","仪表编号"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"data_value","Double",null,null,"数值",null,null,null,"data_value","Double",null,null,"数值"]
[{"$nulls":9},"max_time","String",20,null,"最大值时间，格式yyyyMMddHHmmss"]
[]
[null,"data_objectdata_15min/1h/1d/1m/1y",{"$nulls":7},"data_objectdata_max_1h/1d/1m/1y"]
[null,"计算单元/支路能耗",{"$nulls":7},"计算单元/支路能耗最大值"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"objectSign","String",50,"√","计算单元/支路编号",null,null,null,"objectSign","String",50,"√","计算单元/支路编号"]
[null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"data_value","Double",null,null,"数值",null,null,null,"data_value","Double",null,null,"数值"]
[{"$nulls":9},"max_time","String",20,null,"最大值时间，格式yyyyMMddHHmmss"]
[]
[null,"data_energydata_15min/1h/1d/1m/1y",{"$nulls":7},"data_energydata_max_1h/1d/1m/1y"]
[null,"分项能耗",{"$nulls":7},"分项能耗最大值"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"energyModelSign","String",20,"√","能耗模型编号",null,null,null,"energyModelSign","String",20,"√","能耗模型编号"]
[null,"energyModelNodeSign","String",50,"√","分项编号",null,null,null,"energyModelNodeSign","String",50,"√","分项编号"]
[null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"data_value","Double",null,null,"数值",null,null,null,"data_value","Double",null,null,"数值"]
[{"$nulls":9},"max_time","String",20,null,"最大值时间，格式yyyyMMddHHmmss"]

{"sheet":"4-租户","index":3,"n_rows":50,"n_cols":22,"rows_kept":50,"cut":false,"hidden":false,"merged":[[24,9,24,13],[25,9,25,13],[33,9,33,13],[34,9,34,13],[32,1,32,5],[33,1,33,5],[42,1,42,5],[43,1,43,5],[14,9,14,13],[1,9,1,13],[1,17,1,21],[2,9,2,13],[2,17,2,21],[13,9,13,13],[22,1,22,5],[1,1,1,5],[2,1,2,5],[11,1,11,5],[12,1,12,5],[21,1,21,5]]}
[]
[null,"tenant",{"$nulls":7},"data_tenantdata_15min/1h/1d/1m/1y",{"$nulls":7},"data_tenantdata_max_1h/1d/1m/1y"]
[null,"租户",{"$nulls":7},"租户能耗",{"$nulls":7},"租户能耗最大值"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"sign","String",100,"√","租户编号",null,null,null,"tenant","String",100,"√","租户编号",null,null,null,"tenant","String",100,"√","租户编号"]
[null,"valid_time_from","String",20,null,"开始时间，格式yyyyMMddHHmmss",null,null,null,"energy_type","String",null,"√","能源类型编号，空表示租户总能耗，非空表示指定能源类型能耗",null,null,null,"energy_type","String",null,"√","能源类型编号，空表示租户总能耗，非空表示指定能源类型能耗"]
[null,"valid_time_to","String",20,null,"结束时间，格式yyyyMMddHHmmss",null,null,null,"meter_sign","String",100,"√","仪表编号，空需要看上一行",null,null,null,"meter_sign","String",100,"√","仪表编号，空需要看上一行"]
[null,"soft_enable","Boolean",null,null,"是否软冲软扣",null,null,null,"funcid","Long",null,"√","功能号/参数编号，空需要看上一行",null,null,null,"funcid","Long",null,"√","功能号/参数编号，空需要看上一行"]
[null,"soft_initial_yuer","Double",null,null,"软冲软扣初始余额",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[{"$nulls":9},"data_value","Double",null,null,"数值",null,null,null,"data_value","Double",null,null,"数值"]
[null,"tenant_energy",{"$nulls":15},"max_time","String",20,null,"最大值时间，格式yyyyMMddHHmmss"]
[null,"租户能源"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"data_tenantfee_15min/1h/1d/1m/1y"]
[null,"building","String",20,"√","项目编号",null,null,null,"租户费用"]
[null,"sign","String",100,"√","租户编号",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"energy_type","String",20,"√","能源类型编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"price_type","String",20,null,"固定价格fixed_price，分时价格time_price",null,null,null,"tenant","String",100,"√","租户编号"]
[null,"soft_enable","Boolean",null,null,"是否软冲软扣",null,null,null,"energy_type","String",null,"√","能源类型编号，空表示租户总能耗，非空表示指定能源类型能耗"]
[null,"soft_initial_yuer","Double",null,null,"软冲软扣初始余额",null,null,null,"meter_sign","String",100,"√","仪表编号，空需要看上一行"]
[{"$nulls":9},"funcid","Long",null,"√","功能号/参数编号，空需要看上一行"]
[null,"tenant_energy_meter",{"$nulls":7},"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[null,"租户能源下属电表",{"$nulls":7},"data_value","Double",null,null,"数值"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"data_tenantbalance"]
[null,"sign","String",100,"√","租户编号",null,null,null,"租户余额"]
[null,"energy_type","String",20,"√","能源类型编号",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"meter_sign","String",20,"√","电表编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"meter_type","String",20,null,"电表类型",null,null,null,"tenant","String",100,"√","租户编号"]
[null,"share_ratio","Double",null,null,"拆分系数",null,null,null,"energy_type","String",null,"√","能源类型编号，空表示租户总能耗，非空表示指定能源类型能耗"]
[null,"transformer_ratio","Double",null,null,"互感器变比",null,null,null,"data_time","String",20,"√","时间，格式yyyyMMddHHmmss"]
[{"$nulls":9},"data_value","Double",null,null,"数值"]
[null,"tenant_energy_price"]
[null,"租户能源价格",{"$nulls":7},"data_tenantbalance_present"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"租户余额当前值"]
[null,"building","String",20,"√","项目编号",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"sign","String",100,"√","租户编号",null,null,null,"building","String",20,"√","项目编号"]
[null,"energy_type","String",20,"√","能源类型编号",null,null,null,"tenant","String",100,"√","租户编号"]
[null,"valid_time_from","String",20,"√","开始时间",null,null,null,"energy_type","String",null,"√","能源类型编号，空表示租户总能耗，非空表示指定能源类型能耗"]
[null,"valid_time_to","String",20,null,"结束时间",null,null,null,"data_time","String",20,null,"时间，格式yyyyMMddHHmmss"]
[null,"price","String",65535,null,"价格内容，固定价格是数字，分时价格是json",null,null,null,"data_value","Double",null,null,"数值"]
[]
[null,"tenant_recharge"]
[null,"租户充值记录"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号"]
[null,"sign","String",100,"√","租户编号"]
[null,"energy_type","String",20,"√","能源类型编号，空表示冲到租户，非空表示冲到指定能源"]
[null,"operate_time","String",20,"√","充值时间"]
[null,"share_ratio","Double",null,null,"拆分系数"]

{"sheet":"5-计算实例","index":4,"n_rows":51,"n_cols":6,"rows_kept":51,"cut":false,"hidden":false,"merged":[[24,1,24,5],[41,1,41,5],[42,1,42,5],[1,1,1,5],[2,1,2,5],[9,1,9,5],[10,1,10,5],[23,1,23,5]]}
[]
[null,"ci_instance"]
[null,"计算实例"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"object_sign","String",20,"√","项目编号"]
[null,"instance_name","String",50,"√","计算实例名称"]
[null,"flag_valid","Long",null,null,"标记，未使用"]
[null,"compute_interval_seconds","Long",null,null,"尝试计算的间隔秒数，越小越实时，建议默认900秒"]
[]
[null,"ci_instance_input"]
[null,"计算实例输入"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"object_sign","String",20,"√","项目编号"]
[null,"instance_name","String",50,"√","计算实例名称"]
[null,"input_sign","String",100,"√","输入编号"]
[null,"time_period","String",20,null,"计算周期，1min、5min、15min、1h"]
[null,"data_class","String",20,null,"near临近值，consumption累计值"]
[null,"dao_type","String",20,null,"数据类型，fjd_near、servicedata、objectdata、energydata"]
[null,"dao_key","String",500,null,"查询key，json格式"]
[null,"source_object_sign","String",20,null,"依赖项目编号"]
[null,"source_instance_name","String",50,null,"依赖计算实例名称"]
[null,"source_input_sign","String",100,null,"依赖输入编号"]
[]
[null,"ci_instance_output"]
[null,"计算实例输出"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"object_sign","String",20,"√","项目编号"]
[null,"instance_name","String",50,"√","计算实例名称"]
[null,"output_sign","String",100,"√","输入编号"]
[null,"time_begin","String",20,"√","开始时间，格式yyyyMMddHHmmss"]
[null,"time_end","String",20,null,"结束时间，格式yyyyMMddHHmmss"]
[null,"data_class","String",20,null,"near临近值，consumption累计值"]
[null,"dao_type","String",20,null,"数据类型，fjd_near、servicedata、objectdata、energydata"]
[null,"dao_key","String",500,null,"查询key，json格式"]
[null,"need_all_var_data","Boolean",null,null,"是否公式中所有数据齐全才算"]
[null,"time_period_intialized","Boolean",null,null,"是否指定计算周期，不指定则依赖输入"]
[null,"mode","String",20,null,"现在全都是公式expression，自定义函数custom_function_name现在没用"]
[null,"expression","String",65535,null,"公式内容"]
[null,"custom_function_name","String",100,null,"自定义函数"]
[null,"custom_paramsMap","String",500,null,"自定义函数参数json"]
[]
[null,"ci_status"]
[null,"计算实例状态"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"object_sign","String",20,"√","项目编号"]
[null,"instance_name","String",50,"√","计算实例名称"]
[null,"status_request","String",20,null,"状态设定值"]
[null,"status_current","String",20,null,"状态反馈值"]
[null,"compute_round","Long",null,null,"当前轮次"]
[null,"operate_time","String",20,null,"本轮程序运行的系统时间"]
[null,"operate_owner","String",100,null,"本轮程序的序号和线程号"]

{"sheet":"6-计算日志","index":5,"n_rows":63,"n_cols":14,"rows_kept":63,"cut":false,"hidden":false,"merged":[[51,9,51,13],[52,9,52,13],[24,9,24,13],[33,9,33,13],[34,9,34,13],[44,9,44,13],[45,9,45,13],[1,9,1,13],[2,9,2,13],[13,9,13,13],[14,9,14,13],[23,9,23,13],[56,1,56,5],[13,1,13,5],[23,1,23,5],[24,1,24,5],[44,1,44,5],[45,1,45,5],[46,1,46,5],[40,1,40,5],[41,1,41,5],[42,1,42,5],[48,1,48,5],[49,1,49,5],[55,1,55,5],[38,1,38,5],[1,1,1,5],[2,1,2,5],[12,1,12,5],[36,1,36,5],[37,1,37,5]]}
[]
[null,"fjd_0_computelog",{"$nulls":7},"ce_computelog"]
[null,"分精度0日志",{"$nulls":7},"计算日志"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"object_sign","String",20,"√","项目编号"]
[null,"compute_round","Long",null,"√","轮次",null,null,null,"instance_name","String",50,"√","计算实例名称"]
[null,"compute_time_from","String",20,null,"本轮计算的时间段",null,null,null,"compute_round","Long",null,"√","轮次"]
[null,"compute_time_to","String",20,null,"本轮计算的时间段",null,null,null,"compute_time_from","String",20,null,"本轮计算的时间段"]
[null,"is_finished","Long",null,null,"本轮计算是否完成，0未完成，1已完成",null,null,null,"compute_time_to","String",20,null,"本轮计算的时间段"]
[null,"operate_time_from","String",20,null,"本轮程序运行的系统时间",null,null,null,"is_finished","Long",null,null,"本轮计算是否已结束"]
[null,"operate_time_to","String",20,null,"本轮程序运行的系统时间",null,null,null,"operate_time_from","String",20,null,"本轮程序运行的系统时间"]
[{"$nulls":9},"operate_time_to","String",20,null,"本轮程序运行的系统时间"]
[null,"fjd_0_computedetail"]
[null,"分精度0日志详情",{"$nulls":7},"ce_computeinputlog"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"计算输入日志"]
[null,"building","String",20,"√","项目编号",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"compute_round","Long",null,"√","轮次",null,null,null,"object_sign","String",20,"√","项目编号"]
[null,"meter","String",100,"√","仪表编号",null,null,null,"instance_name","String",50,"√","计算实例名称"]
[null,"funcid","Long",null,"√","功能号/参数编号",null,null,null,"compute_round","Long",null,"√","轮次"]
[null,"operate_time_to","String",20,null,"当前点位程序运行的系统时间",null,null,null,"source_object_sign","String",20,"√","依赖项目编号"]
[null,"valid_time_from","String",20,null,"当前点位计算结果的时间段",null,null,null,"source_instance_name","String",50,"√","依赖计算实例名称"]
[null,"valid_time_to","String",20,null,"当前点位计算结果的时间段",null,null,null,"compute_rounds","String",65535,null,"依赖的轮次"]
[]
[null,"fjd_1_computelog",{"$nulls":7},"ce_computeinputdetail"]
[null,"分精度1日志",{"$nulls":7},"计算输入日志详情"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"object_sign","String",20,"√","项目编号"]
[null,"compute_round","Long",null,"√","轮次",null,null,null,"instance_name","String",50,"√","计算实例名称"]
[null,"compute_time_from","String",20,null,"本轮计算的时间段",null,null,null,"compute_round","Long",null,"√","轮次"]
[null,"compute_time_to","String",20,null,"本轮计算的时间段",null,null,null,"input_sign","String",100,"√","输入编号"]
[null,"fjd_compute_round_from","Long",null,null,"本轮计算依赖的fjd0的开始轮次",null,null,null,"valid_time_from","String",20,"√","当前点位计算结果的时间段"]
[null,"fjd_compute_round_to","Long",null,null,"本轮计算依赖的fjd0的结束轮次",null,null,null,"valid_time_to","String",20,null,"当前点位计算结果的时间段"]
[null,"is_finished","Long",null,null,"本轮计算是否完成，0未完成，1已完成"]
[null,"operate_time_from","String",20,null,"本轮程序运行的系统时间",null,null,null,"ce_computeoutputdetail"]
[null,"operate_time_to","String",20,null,"本轮程序运行的系统时间",null,null,null,"计算输入日志详情"]
[{"$nulls":9},"列名称","列类型","长度","主键","说明"]
[null,"fjd_1_computedetail",{"$nulls":7},"object_sign","String",20,"√","项目编号"]
[null,"分精度1日志详情",{"$nulls":7},"instance_name","String",50,"√","计算实例名称"]
[null,"参考fjd_0",{"$nulls":7},"compute_round","Long",null,"√","轮次"]
[{"$nulls":9},"output_sign","String",100,"√","输入编号"]
[null,"fjd_2_computelog",{"$nulls":7},"valid_time_from","String",20,"√","当前点位计算结果的时间段"]
[null,"分精度2日志",{"$nulls":7},"valid_time_to","String",20,null,"当前点位计算结果的时间段"]
[null,"参考fjd_0",{"$nulls":7},"operate_time_to","String",20,null,"本轮程序运行的系统时间"]
[]
[null,"fjd_2_computedetail",{"$nulls":7},"ce_curround"]
[null,"分精度2日志详情",{"$nulls":7},"计算实例当前轮次"]
[null,"参考fjd_0",{"$nulls":7},"列名称","列类型","长度","主键","说明"]
[{"$nulls":9},"object_sign","String",20,"√","项目编号"]
[null,"fjd_0_buildingcomputetime",{"$nulls":7},"instance_name","String",50,"√","计算实例名称"]
[null,"项目计算时间",{"$nulls":7},"compute_round","Long",null,null,"当前轮次"]
[null,"列名称","列类型","长度","主键","说明"]
[null,"building","String",20,"√","项目编号",null,null,null,"ce_preroundindex"]
[null,"compute_time","String",20,null,"当前计算时间",null,null,null,"计算实例读取输入到哪个轮次"]
[null,"first_compute_time","String",20,null,"第一次计算的时间",null,null,null,"列名称","列类型","长度","主键","说明"]
[{"$nulls":9},"object_sign","String",20,"√","项目编号"]
[null,"fjd_0_metercomputetime",{"$nulls":7},"instance_name","String",50,"√","计算实例名称"]
[null,"点位计算时间",{"$nulls":7},"source_object_sign","String",20,"√","依赖项目编号"]
[null,"列名称","列类型","长度","主键","说明",null,null,null,"source_instance_name","String",50,"√","依赖计算实例名称"]
[null,"building","String",20,"√","项目编号",null,null,null,"compute_round","Long",null,null,"依赖的计算实例轮次"]
[null,"meter","String",100,"√","仪表编号"]
[null,"funcid","Long",null,"√","功能号/参数编号"]
[null,"next_data_time","String",20,"√","当前计算时间"]
[null,"first_compute_time","String",20,null,"第一次计算的时间"]