{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["离心式冷水机组","供冷冷冻水泵","供冷冷却水泵","冷却塔"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"离心式冷水机组","index":0,"n_rows":84,"n_cols":4,"rows_kept":84,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,21,0],[22,0,83,0]]}
["基础信息","慧云本地名称","wD_huiyunbendimingcheng",true]
[null,"慧云本地编码","wD_huiyunbendibianma",true]
[null,"所属楼层","所属楼层",true]
[null,"所在空间","所在空间",true]
[null,"子系统编码","wD-zxtid",true]
[null,"构件分类名称","bimTypeName",true]
[null,"构件本地编码","localId",true]
["设计信息","冷冻水供水温度","wD-shejilengdongshuigongshuiwendu",true]
[null,"制冷量","wD-shejizhilengliang",true]
[null,"功率","wD-shejigonglv",true]
[null,"COP","wD-shejicop",true]
[null,"电压","wD-shejidianya",true]
[null,"工作压力","wD-shejigongzuoyali",false]
[null,"冷冻水回水温度","wD-shejilengdongshuihuishuiwendu",false]
[null,"冷却水供水温度","wD-shejilengqueshuigongshuiwendu",false]
[null,"冷却水回水温度","wD-shejilengqueshuihuishuiwendu",false]
[null,"冷冻水流量","wD-shejilengdongshuiliuliang",false]
[null,"蒸发器压降","wD-shejizhengfaqiyajiang",false]
[null,"冷却水流量","wD-shejilengqueshuiliuliang",false]
[null,"冷凝器压降","wD-shejilengningqiyajiang",false]
[null,"净重","wD-shejijingzhong",false]
[null,"工质","wD-shejigongzhi",false]
["施工信息","设备品牌","brand",true]
[null,"设备型号","specification",true]
[null,"制冷量","wD-shejizhilengliang",false]
[null,"COP","wD-shejigongzuoyali",false]
[null,"冷冻水供水温度","wD-shejicop",false]
[null,"冷冻水回水温度","wD-shejilengdongshuigongshuiwendu",false]
[null,"冷却水供水温度","wD-shejilengdongshuihuishuiwendu",false]
[null,"冷却水回水温度","wD-shejilengqueshuigongshuiwendu",false]
[null,"冷冻水流量","wD-shejilengqueshuihuishuiwendu",false]
[null,"蒸发器压降","wD-shejizhengfaqiyajiang",false]
[null,"冷却水流量","wD-shejilengqueshuiliuliang",false]
[null,"冷凝器压降","wD-shejilengningqiyajiang",false]
[null,"功率","wD-shejigonglv",false]
[null,"电压","wD-shejidianya",false]
[null,"制冷剂","wD-shejizhilengliang",false]
[null,"暖通工作压力","wD-nuantonggongzuoyali",false]
[null,"压缩机结构型式（离心式、螺杆式、活塞式、涡旋式）","wD-yasuojijiegouxingshi",false]
[null,"冷却方式（风冷、水冷、横流塔、逆流塔）","wD-lengquefangshi",false]
[null,"是否热泵","wD-shifourebeng",false]
[null,"是否变频","wD-shifoubianpin",false]
[null,"制热量","wD-zhireliang",false]
[null,"设备序列号","serialNum",false]
[null,"设备铭牌","nameplate",false]
[null,"长","length",false]
[null,"宽","width",false]
[null,"高","height",false]
[null,"主体材质","material",false]
[null,"所处位置","installLocation",false]
[null,"生产商","manufacturer",false]
[null,"生厂商联系人","manufacturerContactor",false]
[null,"联系人电话","manufacturerPhone",false]
[null,"供货商","supplier",false]
[null,"供货商联系人","supplierContactor",false]
[null,"联系人电话","supplierPhone",false]
[null,"安装单位","installer",false]
[null,"安装单位联系人","installerContactor",false]
[null,"联系人电话","installerPhone",false]
[null,"出厂日期","productDate",false]
[null,"安装日期","installDate",false]
[null,"使用年限","serviceLife",false]
[null,"质保单位","warranter",false]
[null,"质保联系人","warranterContactor",false]
[null,"联系人电话","warranterPhone",false]
[null,"质保期限","warranty",false]
[null,"保险公司","insurer",false]
[null,"保险联系人","insurerContactor",false]
[null,"联系人电话","insurerPhone",false]
[null,"保险有效期","insuranceDuration",false]
[null,"竣工图纸","drawing",false]
[null,"设备安装图纸","installDrawing",false]
[null,"设备安装说明书","installInstruction",false]
[null,"操作说明书","operationManual",false]
[null,"维修保养手册","maintainManual",false]
[null,"采购合同编号","supplierContractID",false]
[null,"采购合同复印件","supplierContract",false]
[null,"设备合格证","productCertification",false]
[null,"进场验收单","approachingAcceptance",false]
[null,"原厂证明","originalCertificate",false]
[null,"检测报告","testReport",false]
[null,"验收报告","acceptanceReport",false]
[null,"保险合同编号","insuranceNum",false]
[null,"保险合同复印件","insuranceFile",false]

{"sheet":"供冷冷冻水泵","index":1,"n_rows":57,"n_cols":4,"rows_kept":57,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,13,0],[14,0,56,0]]}
["基础信息","慧云本地名称","wD_huiyunbendimingcheng",true]
[null,"慧云本地编码","wD_huiyunbendibianma",true]
[null,"所属楼层","所属楼层",true]
[null,"所在空间","所在空间",true]
[null,"子系统编码","wD-zxtid",true]
[null,"构件分类名称","bimTypeName",true]
[null,"构件本地编码","localId",true]
["设计信息","效率","ratedPumpEff",true]
[null,"流量","wD-shejiliuliang",true]
[null,"扬程","wD-shejiyangcheng",true]
[null,"功率","wD-shejigonglv",true]
[null,"转速","ratedRPM",false]
[null,"净重","wD-shejijingzhong",false]
[null,"系统编号","wD-xitongbianhao",false]
["施工信息","设备品牌","brand",true]
[null,"设备型号","specification",true]
[null,"设备序列号","serialNum",false]
[null,"设备铭牌","nameplate",false]
[null,"长","length",false]
[null,"宽","width",false]
[null,"高","height",false]
[null,"主体材质","material",false]
[null,"所处位置","installLocation",false]
[null,"生产商","manufacturer",false]
[null,"生厂商联系人","manufacturerContactor",false]
[null,"联系人电话","manufacturerPhone",false]
[null,"供货商","supplier",false]
[null,"供货商联系人","supplierContactor",false]
[null,"联系人电话","supplierPhone",false]
[null,"安装单位","installer",false]
[null,"安装单位联系人","installerContactor",false]
[null,"联系人电话","installerPhone",false]
[null,"出厂日期","productDate",false]
[null,"安装日期","installDate",false]
[null,"使用年限","serviceLife",false]
[null,"质保单位","warranter",false]
[null,"质保联系人","warranterContactor",false]
[null,"联系人电话","warranterPhone",false]
[null,"质保期限","warranty",false]
[null,"保险公司","insurer",false]
[null,"保险联系人","insurerContactor",false]
[null,"联系人电话","insurerPhone",false]
[null,"保险有效期","insuranceDuration",false]
[null,"竣工图纸","drawing",false]
[null,"设备安装图纸","installDrawing",false]
[null,"设备安装说明书","installInstruction",false]
[null,"操作说明书","operationManual",false]
[null,"维修保养手册","maintainManual",false]
[null,"采购合同编号","supplierContractID",false]
[null,"采购合同复印件","supplierContract",false]
[null,"设备合格证","productCertification",false]
[null,"进场验收单","approachingAcceptance",false]
[null,"原厂证明","originalCertificate",false]
[null,"检测报告","testReport",false]
[null,"验收报告","acceptanceReport",false]
[null,"保险合同编号","insuranceNum",false]
[null,"保险合同复印件","insuranceFile",false]

{"sheet":"供冷冷却水泵","index":2,"n_rows":57,"n_cols":4,"rows_kept":57,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,13,0],[14,0,56,0]]}
["基础信息","慧云本地名称","wD_huiyunbendimingcheng",true]
[null,"慧云本地编码","wD_huiyunbendibianma",true]
[null,"所属楼层","所属楼层",true]
[null,"所在空间","所在空间",true]
[null,"子系统编码","wD-zxtid",true]
[null,"构件分类名称","bimTypeName",true]
[null,"构件本地编码","localId",true]
["设计信息","效率","ratedPumpEff",true]
[null,"流量","wD-shejiliuliang",true]
[null,"扬程","wD-shejiyangcheng",true]
[null,"功率","wD-shejigonglv",true]
[null,"转速","ratedRPM",false]
[null,"净重","wD-shejijingzhong",false]
[null,"系统编号","wD-xitongbianhao",false]
["施工信息","设备品牌","brand",true]
[null,"设备型号","specification",true]
[null,"设备序列号","serialNum",false]
[null,"设备铭牌","nameplate",false]
[null,"长","length",false]
[null,"宽","width",false]
[null,"高","height",false]
[null,"主体材质","material",false]
[null,"所处位置","installLocation",false]
[null,"生产商","manufacturer",false]
[null,"生厂商联系人","manufacturerContactor",false]
[null,"联系人电话","manufacturerPhone",false]
[null,"供货商","supplier",false]
[null,"供货商联系人","supplierContactor",false]
[null,"联系人电话","supplierPhone",false]
[null,"安装单位","installer",false]
[null,"安装单位联系人","installerContactor",false]
[null,"联系人电话","installerPhone",false]
[null,"出厂日期","productDate",false]
[null,"安装日期","installDate",false]
[null,"使用年限","serviceLife",false]
[null,"质保单位","warranter",false]
[null,"质保联系人","warranterContactor",false]
[null,"联系人电话","warranterPhone",false]
[null,"质保期限","warranty",false]
[null,"保险公司","insurer",false]
[null,"保险联系人","insurerContactor",false]
[null,"联系人电话","insurerPhone",false]
[null,"保险有效期","insuranceDuration",false]
[null,"竣工图纸","drawing",false]
[null,"设备安装图纸","installDrawing",false]
[null,"设备安装说明书","installInstruction",false]
[null,"操作说明书","operationManual",false]
[null,"维修保养手册","maintainManual",false]
[null,"采购合同编号","supplierContractID",false]
[null,"采购合同复印件","supplierContract",false]
[null,"设备合格证","productCertification",false]
[null,"进场验收单","approachingAcceptance",false]
[null,"原厂证明","originalCertificate",false]
[null,"检测报告","testReport",false]
[null,"验收报告","acceptanceReport",false]
[null,"保险合同编号","insuranceNum",false]
[null,"保险合同复印件","insuranceFile",false]

{"sheet":"冷却塔","index":3,"n_rows":65,"n_cols":4,"rows_kept":65,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,14,0],[15,0,64,0]]}
["基础信息","慧云本地名称","wD_huiyunbendimingcheng",true]
[null,"慧云本地编码","wD_huiyunbendibianma",true]
[null,"所属楼层","所属楼层",true]
[null,"所在空间","所在空间",true]
[null,"子系统编码","wD-zxtid",true]
[null,"构件分类名称","bimTypeName",true]
[null,"构件本地编码","localId",true]
["设计信息","冷却水流量","ratedWaterFlow",true]
[null,"功率","ratedP",true]
[null,"室外湿球温度","wD-shejishiwaishiqiuwendu",true]
[null,"冷却水供水温度","wD-shejilengqueshuigongshuiwendu",false]
[null,"冷却水回水温度","wD-shejilengqueshuihuishuiwendu",false]
[null,"室外干球温度","wD-shejishiwaiganqiuwendu",false]
[null,"电压","wD-shejidianya",false]
[null,"净重","wD-shejijingzhong",false]
["施工信息","设备品牌","brand",true]
[null,"设备型号","specification",true]
[null,"冷却水流量","ratedWaterFlow",false]
[null,"冷却水供水温度","ratedWaterOutTemp",false]
[null,"冷却水回水温度","ratedWaterInTemp",false]
[null,"室外湿球温度","designOutdoorTw",false]
[null,"室外干球温度","designOutdoorTemp",false]
[null,"功率","ratedP",false]
[null,"电压","ratedFanU",false]
[null,"设备序列号","serialNum",false]
[null,"设备铭牌","nameplate",false]
[null,"长","length",false]
[null,"宽","width",false]
[null,"高","height",false]
[null,"主体材质","material",false]
[null,"所处位置","installLocation",false]
[null,"生产商","manufacturer",false]
[null,"生厂商联系人","manufacturerContactor",false]
[null,"联系人电话","manufacturerPhone",false]
[null,"供货商","supplier",false]
[null,"供货商联系人","supplierContactor",false]
[null,"联系人电话","supplierPhone",false]
[null,"安装单位","installer",false]
[null,"安装单位联系人","installerContactor",false]
[null,"联系人电话","installerPhone",false]
[null,"出厂日期","productDate",false]
[null,"安装日期","installDate",false]
[null,"使用年限","serviceLife",false]
[null,"质保单位","warranter",false]
[null,"质保联系人","warranterContactor",false]
[null,"联系人电话","warranterPhone",false]
[null,"质保期限","warranty",false]
[null,"保险公司","insurer",false]
[null,"保险联系人","insurerContactor",false]
[null,"联系人电话","insurerPhone",false]
[null,"保险有效期","insuranceDuration",false]
[null,"竣工图纸","drawing",false]
[null,"设备安装图纸","installDrawing",false]
[null,"设备安装说明书","installInstruction",false]
[null,"操作说明书","operationManual",false]
[null,"维修保养手册","maintainManual",false]
[null,"采购合同编号","supplierContractID",false]
[null,"采购合同复印件","supplierContract",false]
[null,"设备合格证","productCertification",false]
[null,"进场验收单","approachingAcceptance",false]
[null,"原厂证明","originalCertificate",false]
[null,"检测报告","testReport",false]
[null,"验收报告","acceptanceReport",false]
[null,"保险合同编号","insuranceNum",false]
[null,"保险合同复印件","insuranceFile",false]