{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":962,"n_cols":3,"rows_kept":962,"cut":false,"hidden":false,"merged":[]}
["中文词汇","名称原文","名称缩写"]
["第一","first ","1st"]
["第二","second ","2nd"]
["第三","third ","3rd"]
["能力","ability","Ability"]
["异常","abnormity","Abnormity"]
["吸收","absorb","Absorb"]
["吸收剂","absorbent","Absorbent"]
["吸收器","absorber","Absorber"]
["吸收率","absorptivity","Absorptivity"]
["空调","air conditioning","AC"]
["交流（电）","alternate","Alternate"]
["累计","accumulation","Acc"]
["加速","accelerate","Accelerate"]
["门禁/接入层/准入","access","Access"]
["准确度","accuracy","Accuracy"]
["邻道功率","adjacent-channel power","ACP"]
["动作","action","Action"]
["有功（功率）/活性","active","Active"]
["实际","actual","Actual"]
["接合器","adapter","Adapter"]
["地址","address","Address"]
["调节","adjust","Adjust"]
["广告","advertising ","Advertise"]
["曝气机","aerator","Aerator"]
["剩余（电流）/(处理)后","after","After"]
["年龄","age","Age"]
["空调箱","air hundling unit","AHU"]
["（室内）风","air","Air"]
["密闭","airtight","Airtight"]
["报警","alarm","Alarm"]
["报警器","alertor","Alertor"]
["准确限制系数","accuracy limit factor","ALF"]
["允许","allow","Allow"]
["海拔","altitude","Altitude"]
["功放","amplifier","Amplifier"]
["锚杆","anchor","Anchor"]
["夹角","angle","Angle"]
["动物","animals","Animal"]
["负离子","anion","Anion"]
["天线","antenna","Antenna"]
["阻燃","antiflame","Antiflame"]
["防冻","antifreezing","Antifreeze"]
["除垢","antiscaling ","Antiscale"]
["机器","apparatus ","Apparatus"]
["视在（功率）","apparent","Apparent"]
["适用","applicable","Apply"]
["空气质量指数","air quality index","AQI"]
["水生","aquatic ","Aquatic "]
["档案","archives","Archive"]
["面积","area","Area"]
["资产","asset","Asset"]
["辅（柜）","assist","Assist"]
["喷雾装置","atomizer","Atomizer"]
["衰减","attenuation","Attenuation"]
["音频","audio","Audio"]
["身份认证","authentication","Authenticat"]
["自动","automatic","Auto"]
["辅助(热源)","auxiliary ","Auxiliary"]
["可用的","available","Available"]
["平均","average","Ave"]
["轴","axis","Axis"]
["倒流","backflow","Backflow"]
["背板","backplane","Backplane"]
["备用/备份","backup","Backup"]
["后（加速）","backward","Backward"]
["反洗","backwash","Backwash"]
["平衡","balance","Balance"]
["球(阀)","ball","Ball"]
["宽带","band","Band"]
["带宽","bandwidth","Bandwidth"]
["条","bar","Bar"]
["底座","base","Base"]
["水池/水坑","basin","Basin"]
["浴缸","bathtub","Bathtub"]
["蓄电池","battery","Battery"]
["光束/梁/光型","beam ","Beam"]
["承重","bearing","Bearing"]
["（处理）前","before","Before"]
["带","belt","Belt"]
["弯曲","bending","Bend"]
["误码率","BER","BER"]
["最佳","best","Best"]
["偏差/误差","bias","Bias"]
["生物","biology","Biology"]
["砌块","block","Block"]
["(水箱)板","board","Board"]
["锅炉","boiler","Boiler"]
["螺栓","bolt","Bolt"]
["合母（电压）","bond","Bond"]
["瓶","bottle","Bottle"]
["底（板）","bottom ","Bottom"]
["箱形","box","Box"]
["支路","branch","Br"]
["品牌","brand","Brand"]
["破碎/断开","break","Break"]
["击穿","breakdown","Breakdown"]
["断路器","circuit breaker","Breaker"]
["亮度","brightness","Bright"]
["语音播报/广播","broadcast","Broadcast"]
["建筑/组建","building","Build"]
["地埋","buried ","Buried"]
["燃烧","burn","Burn"]
["母线","bus","Bus"]
["按钮","button","Button"]
["旁通","bypass","Bypass"]
["柜","cabinet","Cab"]
["有线电视干线/电缆","cable","Cable"]
["呼叫","call","Call"]
["摄像头","camera","Camera"]
["雨蓬","canopy","Canopy"]
["容量/容积/能力","capacity","Cap"]
["容性","capacitive","Capacitive"]
["尿素","carbamide","Carbamide"]
["炭","carbon","Carbon"]
["注册卡","card","Card"]
["载波","carrier","Carrier"]
["吊顶","ceiling","Ceiling"]
["离心","centrifugal ","Centrifugal"]
["甲烷","CH4","CH4"]
["链","chain","Chain"]
["换（气、热）","change","Change"]
["电视台/频道/通道","channel","Channel"]
["特性","characteristics ","Character"]
["充注/充装/充电/计价","charge","Charge"]
["止回(阀)/质检","check ","Check"]
["药/化学","chemical","Chemical"]
["冷冻（水、泵）","chilling","Chill"]
["冷机","chiller","Chiller"]
["芯片","chip","Chip"]
["色度","chromaticity","Chroma"]
["线路","circuit","Circuit"]
["圆形","circular","Circular"]
["城市","city","City"]
["氯","chlorine","Cl"]
["清晰度","clarity","Clarity"]
["清掏/清挖/洁净","clean/cleanliness ","Clean"]
["气候","climate","Climate"]
["闭（环）/关合/合闸","close","Close"]
["CO","CO","CO"]
["二氧化碳","carbon dioxide ","CO2"]
["燃煤","coal","Coal"]
["涂层","coating","Coat"]
["同轴线","coaxial","Coaxial"]
["系数","coefficient","Coeff"]
["盘管/线圈","coil","Coil"]
["收集","collect","Collect"]
["集水器/集热器","collector","Collector"]
["颜色","color","Color"]
["柱","column","Column"]
["组合","combine","Combine"]
["通讯","communication","Communicatation"]
["公司","company","Company"]
["补偿","compensation","Compensation"]
["分量/组件","component","Component"]
["压缩/抗压","compress","Compress"]
["压缩机","compressor","Compressor"]
["电脑","computer","Computer"]
["浓度","concentrate","Concentrate"]
["混凝土","concrete","Concrete"]
["并发","concurrent","Concurrent"]
["冷凝器","condenser","Cond"]
["液化","condense","Condense"]
["传热","conduction","Conduction"]
["导体","conductor","Conductor"]
["连接/接线/入户/对应关系","connecting","Connect"]
["定(压)","constant","Constant"]
["施工方","constructor","Constructor"]
["消耗","consumption","Consum"]
["接触/触点","contact","Contact"]
["联系人/接触器","contactor","Contactor"]
["连续/持续","continue","Continue"]
["合同","contract","Contract"]
["对比度","contrast","Contrast"]
["汇聚层","convergence","Convergence"]
["转换率","conversion ","Conversion"]
["供冷/降温","cooling","Cool"]
["芯/核心","core","Core"]
["腐蚀","corrosion","Corrosion"]
["计时","count","Count"]
["占地/覆盖","cover","Cover"]
["爬电","creepage","Creep"]
["显色指数","color rendering index","CRI"]
["截面","cross ","Cross"]
["晶体","crystal","Crystal"]
["控制","control","Ctrl"]
["控制器","controller","Ctrler"]
["当前","current","Current"]
["（风）幕","curtain","Curtain"]
["曲线","curve","Curve"]
["垫层","cushion","Cushion"]
["切断/切割","cut","Cut"]
["流量系数","flow factor","Cv"]
["循环","cycle","Cycle"]
["气缸/钢瓶","cylinder","Cylinder"]
["绝对湿度","absolute humidity","D"]
["闸","damper","Damper"]
["阻尼","damping","Damping"]
["危险","dangerous","Danger"]
["数据","data","Data"]
["日期","date","Date"]
["女儿","daughter","Daughter"]
["双","daul","Daul"]
["每日","daily","Day"]
["直流","DC","DC"]
["除（湿、渣、杂质）","de","De"]
["截止日期","deadline","Deadline"]
["衰减","decay","Decay"]
["解码","decode","Decode"]
["外装/装饰","decoration","Decoration"]
["防护","defense","Defense"]
["融霜","defrost","Defrost"]
["度","degree","Degree"]
["融冰","deicing","Deicing"]
["延时","delay","Delay"]
["延迟器","delayer","Delayer"]
["输送","delivery","Delivery"]
["要求","demand","Demand"]
["（像素）密度","density","Density"]
["布防","deploy","Deploy"]
["俯（角）","depression ","Depression"]
["部门","department","Dept"]
["深度","depth","Depth"]
["脱盐","desalination","Desalt"]
["设计","design","Design"]
["设计方","designer","Designer"]
["检测","detect","Detect"]
["探测器","detector","Detector"]
["开发商","developer","Developer"]
["偏差","deviation","Deviation"]
["装置","device","Device"]
["发展","development","Devp"]
["露(点)","dew ","Dew"]
["生活热水","domestic hot water","DHW"]
["直径/通径","diameter","Diameter"]
["柴油","diesel","Diesel"]
["差动","differential","Different"]
["浸渍","dip","Dip"]
["方向/朝向","direction","Direction"]
["污秽","dirty","Dirty"]
["隔离开关","disconnector","Disconnector"]
["硬盘","disk","Disk"]
["排气量","displacement","Displacement"]
["显示屏/显示","display","Display"]
["溶解","dissolved ","Dissolved"]
["距离","distance","Distance"]
["失真","distortion","Distortion"]
["配电/配水","distribution","Distribution"]
["分水器/分配器","distributor","Distributor"]
["划分","divide","Divide"]
["潜水","diving","Diving"]
["公称直径","diameter norminal","DN"]
["对接","docking","Dock"]
["门","door","Door"]
["下载","download","Download"]
["排水","drain","Drain"]
["图纸","drawings","Drawing"]
["漂移","drift","Drift"]
["直饮","drinking ","Drink"]
["驱动/传动","drive","Drive"]
["下降","drop","Drop"]
["干的","dry","Dry"]
["双","dual","Dual"]
["烟尘","dust","Dust"]
["生活用水","domestic water","DW"]
["动态","dynamic","Dynamic"]
["能量","energy","E"]
["预（警）","early","Early"]
["能效比","energy efficiency ratio","EER"]
["效率","efficiency","Eff"]
["有效","effective","Effective"]
["电","electricity","Elec"]
["仰(角)","elevation ","Elevation"]
["电梯","elevator","Elevator"]
["电子邮件","email","Email"]
["预埋","embedded","Embedded"]
["紧急","emergency","Emergency"]
["排放/发射","emission","Emission"]
["发射率","emissivity","Emissivity"]
["末端","end","End"]
["英文","english","English"]
["进入","enter","Enter"]
["环境","environment","Environment"]
["均衡器","equalizer","Equalizer"]
["设备","equipment","Equip"]
["故障/差","error","Error"]
["扶梯","escalators","Escalator"]
["以太网","ethernet","Ethernet"]
["蒸发/蒸发器","evaporate/evaporator","Evap"]
["事件","event","Event"]
["余（热、压）","excess","Excess"]
["交换","exchange","Exchange"]
["抽排","exhaust","Exhaust"]
["离开","exit","Exit"]
["爆炸","explode","Explode"]
["暴露","exposure ","Exposure"]
["现有","exsit","Exsit"]
["扩展","extension","Extension"]
["外置","external","External"]
["灭火","extinguish","Extinguish"]
["灭火剂","extinguishant","Extinguishant"]
["灭火器","extinguisher","Extinguisher"]
["力","force","F"]
["设施","facility","Facility"]
["因子/因数","factor","Factor"]
["停水/不成功","failed","Failed"]
["故障（电流）","failure","Failure"]
["风机","fan","Fan"]
["新风箱","fresh air unit","FAU"]
["故障","fault","Fault"]
["传真","fax","Fax"]
["风机盘管","fan coil unit","FCU"]
["加（药）","feed","Feed"]
["施肥器","fertilizer","Fertilizer"]
["纤维/光纤","fiber","Fiber"]
["现场/场","field","Field"]
["文件","file","File"]
["填装","fill","Fill"]
["补水","filling water","Filling"]
["膜","films","Film"]
["过滤","filt","Filt"]
["过滤器/滤网/滤袋","filter","Filter"]
["翅片","fin","Fin"]
["指纹","fingerprint","Fingerprint "]
["消防/火灾","fire","Fire"]
["固定","fixed","Fixed"]
["法兰/翼缘","flange","Flange"]
["(浅石)滩","flat","Flat"]
["平坦度","flatness","Flatness"]
["楼层/地暖","floor/radiant floor heating","Floor"]
["浮选","flotation","Flotation"]
["流量","flow","Flow"]
["泡沫剂/泡沫液","foaming ","Foaming"]
["雾","Fog","Fog"]
["字体","font","Font"]
["格式","format","Format"]
["转发/前（加速）","forwarding","Forward"]
["基础/基坑","found","Found"]
["四通","four-way ","FourWay"]
["窗框","frame","Frame"]
["游离","free ","Free"]
["冷冻","freeze","Freeze"]
["频率","frequency","Freq"]
["新(风)","fresh ","Fresh"]
["前置","front","Front"]
["发泡","frothing","Frothing"]
["燃油","fuel","Fuel"]
["满（增益）/全","full","Full"]
["功能/用途","function","Func"]
["菌床","fungibed","Fungibed"]
["熔断/熔断器","Fuse","Fuse"]
["增益","gain","Gain"]
["间距","gap","Gap"]
["园林","garden","Garden"]
["燃气/气体/瓦斯","gas","Gas"]
["闸门","gate","Gate"]
["网关","gateway","Gateway"]
["档位","gear","Gear"]
["发生","generate","Generate"]
["发生器/发电机","generator","Generator"]
["建筑总面积","gross floor area","GFA"]
["(消防)水枪","giant","Giant"]
["玻璃","glass","Glass"]
["乙二醇","ethylene glycol","Glycol"]
["货物/物品","goods","Goods"]
["坡度","gradient","Gradient"]
["比重","gravity","Gravity"]
["灰度","gray","Gray"]
["隔油井","grease interceptor","GreaseInterceptor"]
["绿色","green","Green"]
["粗格栅","grid","Grid"]
["耙齿","grille","Grille"]
["地源/接地","ground ","Ground"]
["集团/组/组合","group","Group"]
["客人","guest","Guest"]
["引导","guide","Guide"]
["焓值","enthalpy","H"]
["卤代烷","haloalkane","Haloalkane"]
["手握式","handed ","Hand"]
["垂挂","hang","Hang"]
["硬","hard","Hard"]
["硬度（水）","hardness","Hardness"]
["硬件","hardware","Hardware"]
["谐波","harmonic","Harmonic"]
["甲醛","HCHO","HCHO"]
["谐波畸变率","harmonic deviation","HD"]
["扬程/机头","head","Head"]
["热量/加热/采暖","heating","Heat"]
["加热器","heater","Heater"]
["重","heavy","Heavy"]
["高度","height","Height"]
["高（温）","high ","High"]
["维持","holding ","Hold"]
["（进水）孔","hole","Hole"]
["休息日","holiday","Holiday"]
["鸣笛","honk","Honk"]
["（排风）罩","hood","Hood"]
["水平的","horizontal","Horizontal"]
["(消防)水带","hose","Hose"]
["主机","host","Host"]
["热","hot","Hot"]
["水力停留时间","hydraulic retention time","HRT"]
["高压","high voltage","HU"]
["交流声","hum","Hum"]
["消火栓","hydrant","Hydrant"]
["电流","current","I"]
["工商","industrial and commercial","IC"]
["冰","ice","Ice"]
["制冰","ice-making","Icing"]
["编码/号/编号","ID","ID"]
["身份识别","identification","Identification"]
["焓湿图","ID graph","IDGraph"]
["点火","ignite","Ignite"]
["图像","image","Image"]
["阻抗（电压）","impedance","Impedance"]
["叶轮","impeller","Impeller"]
["重要","important","Important"]
["杂质","impurity","Impurity"]
["输入/进风口/进线（电压）","input/inlet","In"]
["进线（柜）","incoming","Incoming"]
["独立","independent","Independent"]
["指标","index","Index"]
["指示","indicate ","Indicate"]
["室内","indoor","Indoor"]
["感应","induct","Induct"]
["感性","inductive","Inductive"]
["信息/描述","information","Info"]
["（遥）毙","inhibit","Inhibit"]
["查询机","inquiry","Inquiry"]
["检查","inspect ","Inspect"]
["瞬时","instantaneous","Inst"]
["安装/敷设","install","Install"]
["绝缘/保温","insulation","Insulation"]
["保险","insurance","Insurance"]
["保险商","insurer","Insurer"]
["一体化","integrated","Integrated"]
["强度","intensity","Intensity"]
["交互","interaction","Interact"]
["内置","internal","Internal"]
["间隔","interval ","Interval "]
["备注","introduction","Intro"]
["反（时限）","inverse","Inverse"]
["IP地址","IP address","IP"]
["防护等级","IPGrade","IPGrade"]
["红外","infrared","IR"]
["铁","iron","Iron"]
["是否/有无","is","is"]
["隔离","isolate","Isolate"]
["隔离度","isolation","Isolation"]
["龙骨","keel","Keel"]
["键盘","keyboard","keyboard"]
["直梯/爬梯","ladder","Ladder"]
["滞后","lag","Lag"]
["灯具","lamp","Lamp"]
["油烟","lampblack","Lampblack"]
["持续","last","Last"]
["维度","latitude","Latitude"]
["层","layer","Layer"]
["布置/排列","layout","Layout"]
["本振频率","local oscillator","LC"]
["运行短路分断能力","Lcs","Lcs"]
["极限短路分断能力","Lcu","Lcu"]
["门叶","leaf","Leaf"]
["泄露的","leaked","Leak"]
["漏电保护器/漏电","leakage","Leakage"]
["长度","length","Length"]
["等级/电平","Level","Lev"]
["寿命","life","Life"]
["提升","lift ","Lift"]
["灯光/轻/配光","light","Light"]
["采光","lighting","Lighting"]
["雷电","lightning","Lightning"]
["极限","limit","Limit"]
["线/行","line","Line"]
["内胆","lining","Lining"]
["联动","link","Link"]
["液体","liquid ","Liquid"]
["带电","live","Live"]
["负荷/负载","load","Load"]
["本地","local","Local"]
["位置","location","Location"]
["门锁","lock","Lock"]
["记录","logs","Log"]
["长","long","Long"]
["经度","longitude","Longitude"]
["环路/环/回路","loop","Loop"]
["损耗","loss","Loss"]
["低/下（水盘）","low ","Low"]
["低压","low voltage","LU"]
["润滑油","lube","Lube"]
["光通量/亮度","luminous flux","Lum"]
["照度","illumination","Lux"]
["机械","machine","Machine"]
["主/干（管）","main ","Main"]
["维保","maintenance","Maintain"]
["维保商","maintainer","Maintainer"]
["管理","management","Manage"]
["人孔","manhole ","Manhole "]
["手动","manual","Manual"]
["生产厂家","manufacturer","Manufacturer"]
["掩码","mask","Mask"]
["配套","match","Match"]
["材质/材料","material","Material"]
["矩阵","matrix","Matrix"]
["最大的/最大值","maximal/maximum","Max"]
["措施","measure","Measure"]
["机械的","mechanical","Mechanical"]
["媒体","media","Media"]
["介质/媒介/载冷剂/中间","medium/chilled meduim","Medium"]
["膜","membrane","Membrane"]
["内存","memory","Memory"]
["消息","message","Message"]
["计量/测量","metering","Meter"]
["方式","method","Method"]
["中间","middle","Middle"]
["最小值","minimal/minimum","Min"]
["混合","mixing","Mix"]
["混合器","mixer","Mixer"]
["策略/模式/制度","mode","Mode"]
["模型","model","Model"]
["模块化","modular","Modular"]
["调制","modulation","Modulate"]
["调制器","modulator","Modulator"]
["监视器/监控","monitor","Monitor"]
["电机/电动机","motor","Motor"]
["移动","move","Move"]
["平均无故障时间","mean time between failure","MTBF"]
["多","multiple","Multi"]
["倍数","multiple","Multiple"]
["市政","municipal","Municipal"]
["音乐","music","Music"]
["钠","Na","Na"]
["名称","name","Name"]
["铭牌","nameplate","Nameplate"]
["需要","need","Need"]
["负","negative","Negative"]
["净（高，重）/网络","net","Net"]
["中性","neutral ","Neutral"]
["氮","nitrogen","Nitrogen"]
["节点","node","Node"]
["噪声","noise","Noise"]
["公称","nominal","Norminal"]
["非/无","non","Non"]
["常（温）","normal","Normal"]
["喷头/喷嘴","nozzle","Nozzle"]
["数量","number","Num"]
["对象","object","Object"]
["臭气","odor","Odor"]
["断(电)/关闭","off ","Off "]
["油","oil","Oil"]
["开门/门扇/分闸","open","Open"]
["开度","opening","Opening"]
["经营/工作/运行/操作","operation","Operate"]
["优化/可选","optimization","Opt"]
["光（端机)/光/光学的","optical","Optical"]
["工单","order","Order"]
["有机物","organism","Organism"]
["操作系统","operate system","OS"]
["其他","other","Other"]
["输出/出口","output/outlet","Out"]
["室外","outdoor","Outdoor"]
["出线（柜）","outgoing","Outgoing"]
["过/溢","over","Over"]
["全（楼）","overall","Overall"]
["检修","overhaul","Overhaul"]
["业主","owner","Owner"]
["氧化剂","oxidant","Oxidant"]
["接触氧化","contact oxidation","Oxide"]
["臭氧","ozone","Ozone"]
["臭氧发生器","ozonizer","Ozonizer"]
["功率","power","P"]
["包","packet","Packet"]
["盘/嵌板","panel","Panel"]
["参数","parameters","Para"]
["并列","parallel","Parallel"]
["车位","parking","Parking"]
["颗粒","particle","Particle"]
["通行","pass","Pass"]
["乘客","passenger","Passenger"]
["密码","password","Password"]
["路线","path","Path"]
["巡更","patrol","Patrol"]
["停（水）","pause","Pause"]
["百分比","percentage","Pct"]
["谷峰","peak","Peak"]
["摆锤","pendulum","Pendulum"]
["人均","per capita","PerCapita"]
["周期","period","Period"]
["常驻","permanent","Permanent"]
["人员","person","Person"]
["相（电）","phase","Phase"]
["电话","phone","Phone"]
["物理","physical","Physical"]
["图片","picture","Pic"]
["桩","pile","Pile"]
["管道","pipe","Pipe"]
["底坑","PIT","Pit"]
["像素","pixels","Pixel"]
["植物","plants","Plant"]
["承台/平台","plat","Plat"]
["(钢、集热)板","plate","Plate"]
["播放器","player","Player"]
["负载率","partical load ratio","PLR"]
["插头","plug","Plug"]
["颗粒物","particulate","PM"]
["pm10浓度","pm10 concentration","PM10"]
["pm2.5浓度","pm2.5 concentration","PM2.5"]
["点","point","Point"]
["极化方式","polarization","Polar"]
["污染","pollution","Pollution"]
["泳池","pool","Pool"]
["孔","pore","Pore"]
["孔隙","porosity ","Porosity"]
["接口/端口","port","Port"]
["正","positive","Positive"]
["粉末","powder","Powder"]
["动力/电源","power","Power"]
["预作用","preaction","Preaction"]
["前置功放","preamplifier","Preamplifier"]
["降水/沉淀","precipitation","Precipitation"]
["精密/精度","precision","Precision"]
["预热","preheating","Preheat"]
["预设","preset","Preset"]
["压力/承压/增压","pressure","Press"]
["预处理","pretreat","Pretreat"]
["防止器","preventor","Preventor"]
["价格","price","Price"]
["一次（泵）","primary","Primary"]
["负责人","principal","Principal"]
["原理","principle","Principle"]
["打印","print","Print"]
["打印机","printer","Printer"]
["处理","process","Process"]
["处理器","processor","Processor"]
["生产/投产","product ","Product"]
["专业","professional","Professional"]
["电脑编程","computer programming","Program"]
["项目","project","Proj"]
["提示","prompt","Prompt"]
["物业","property","Property"]
["保护","Protect","Protect"]
["保护器","protector","Protector"]
["协议","protocol","Protocol"]
["省份","province","Province"]
["公共","public","Public"]
["水坑","puddle","Puddle"]
["脉冲","pulse","Pulse"]
["泵","pump","Pump"]
["采购","purchase","Purchase"]
["净化","purified ","Purify"]
["(采光)量","quantity","Quantity"]
["辐射散热","radiation","Radiation"]
["对讲机","radio","Radio"]
["半径","radius","Radius"]
["筏板","raft","Raft"]
["扶手","railing","Railing"]
["雨水","rain","Rain"]
["雨量","rainfall","Rainfall"]
["范围/射程/量程","range","Range"]
["率","rate","Rate"]
["标定/额定/理论上","rated","Rated"]
["比率","ratio","Ratio"]
["原（水）","raw ","Raw"]
["反应","reaction ","React"]
["无功（功率）","reactive","Reactive"]
["读卡","read","Read"]
["读卡器","reader","Reader"]
["接收","received","Receive"]
["接收器","receiver","Receiver"]
["中（水）","reclaimed","Reclaimed"]
["重合闸","reclosing","Reclosing"]
["识别","recognize","Recognize"]
["识别仪","recognizer","Recognizer"]
["录音","record","Record"]
["回收","recovery","Recovery"]
["矩形","rectangle","Rectangle"]
["整流器","rectifier","Rectifier"]
["减压/减载","reducing ","Reduce"]
["浅石","reef","Reef"]
["参考","reference","Ref"]
["反射","reflect","Reflect"]
["刷新","refresh","Refresh"]
["制冷剂","refrigerant","Refrigerant"]
["制冷","refrigerate","Refrigerate"]
["再生剂","regenerant","Regenerant"]
["再生","regenerate","Regenerate"]
["区域","regional","Regional"]
["再热","reheat","Reheat"]
["钢筋","rein","Rein"]
["关联","related","Related"]
["继电器","relay","Relay"]
["释（热）/释放/分断","release","Release"]
["（压力）释放","relief","Relief"]
["余量/剩余","remain","Remain"]
["远程","remote","Remote"]
["截(油量)/去除","remove","Remove"]
["中继台","repeater","Repeater"]
["更换","replace","Replace"]
["报告","report","Report"]
["蓄水","reservoir ","Reservoir"]
["树脂","resin","Resin"]
["抗力/阻力","resistance","Resistance"]
["分辨率","resolution","Resolution"]
["共振","resonance","Resonance"]
["应答/响应","response ","Response"]
["停留/保持力","retention ","Retention"]
["回（水）","return","Return"]
["回用","reuse","Reuse"]
["反向","reverse","Reverse"]
["射频","radio frequency ","RF"]
["白平衡","white balance","RGB"]
["相对湿度","relative humidity","RH"]
["辐射强度","radiation intensity","RI"]
["圈/环","ring","Ring"]
["环网柜","ringMainUnit","RingMainUnit"]
["纹波","ripple","Ripple"]
["上升","rise","Rise"]
["反渗透","reverse osmosis ","RO"]
["屋顶","roof","Roof"]
["房间/空间","room","Room"]
["转动","rotate","Rotate"]
["旋转","rotation","Rotation"]
["转子","rotor","Rotor"]
["密度","density","Rou"]
["路由","route","Route"]
["路由器","router ","Router"]
["排（管）","row","Row"]
["转数","revolution","RPM"]
["运行/开启","run","Run"]
["盐","salt","Salt"]
["消毒剂","sanitizer","Sanitizer"]
["节约","save","Save"]
["遮阳系数","SC","SC"]
["等级/规模","scale","Scale"]
["扫描","scan","Scan"]
["水景","waterscape","Scape"]
["作息表/工作制度","schedule","Schedule"]
["屏幕/液晶屏","screen","Screen"]
["螺杆","screw","Screw"]
["密封","seal ","Seal"]
["寻（车）","search","Search"]
["二次（泵）/辅/次要/二级","secondary","Secondary"]
["（功能）段","section","Section"]
["扇形","sector","Sector"]
["底泥","sediment","Sediment"]
["分段/网段","segment","Segment"]
["地震","seism","Seism"]
["感应","sense","Sense"]
["显（热）","sensible ","Sensible"]
["灵敏度","sensitivity","Sensitivity"]
["感应器","sensor","Sensor"]
["析除（率）/可分离（油）/独立","separate ","Separate"]
["腐化","septic","Septic"]
["顺序/序列","sequence","Sequence"]
["出厂编号","serial ","Serial"]
["服务器","server","Server"]
["使用（寿命）/配水","service","Service"]
["设定","set","Set"]
["排污/污水","sewage","Sewage"]
["抗震设防烈度","seismic fortification intensity","SFI"]
["遮阳帘","shade","Shade"]
["震动","shake","Shake"]
["形状","shape","Shape"]
["共用","share","Share"]
["外壳/防护罩","shield","Shield"]
["冲击量","shock","Shock"]
["短（路）","short","Short"]
["(1)次","shot","Shot"]
["帘子","shutter ","Shutter"]
["（xx）侧","side","Side"]
["视线","sight","Sight"]
["信号","signal","Signal"]
["单个","single","Single"]
["洗碗槽","sink","Sink"]
["地点","site","Site"]
["大小","size","Size"]
["渣","slag","Slag"]
["倾斜","slant","Slant"]
["选择性","slective","Slective"]
["坡道","slope","Slope"]
["（插）槽","slot","Slot"]
["单模光纤","SMF","SMF"]
["挡烟/烟","smoke","Smoke"]
["信噪比","signal to noise ratio","SNR"]
["软化","soft","Soft"]
["软化器","softener","Softener"]
["软件","software","Software"]
["土壤","soil","Soil"]
["电磁（阀）","solenoid","Solenoid"]
["固体","solid","Solid"]
["溶液","solution","Solution"]
["有声","sound","Sound"]
["(信号)源","source","Source"]
["间距","spacing","Space"]
["跨度","span ","Span"]
["规格","specification","Specification"]
["光谱","spectrum","Spectrum"]
["速度","speed","Speed"]
["声压级","sound pressure level","SPL"]
["解列","split","Split"]
["喷洒/喷灌","spray","Spray"]
["喷淋装置","sprayer","Sprayer"]
["弹簧/喷泉","spring","Spring"]
["杂散","spurious","Spurious"]
["蹲便器","squatting","Squatting"]
["日出时间","sunrise time","SRT"]
["日落时间","sunset time","SST"]
["稳定剂","stabilizer","Stabilizer"]
["稳定","stable","Stable"]
["堆叠","stack","Stack"]
["级数","stage","Stage"]
["晒","stagnation","Stagnation"]
["楼梯","stair","Stair"]
["标准","standard","Standard"]
["待机","standby","Standby"]
["启动/投产","start","Start"]
["静（压）","static","Static"]
["（变压）站内","station","Station"]
["状态","status","Status"]
["稳定（流）","steady","Steady"]
["钢结构/型钢","steel","Steel"]
["台阶/踏步/环节","step","Step"]
["杀菌消毒","sterilize","Sterilize"]
["消毒器","sterilizer","Sterilizer"]
["搅拌","stir","Stir"]
["停靠/层站","stop","Stop"]
["蓄（冷，热）","storage","Store"]
["强度","strength","Strength"]
["行程","stroke","Stroke"]
["结构","structure","Struct"]
["潜下水","submersible","Submersible"]
["子网","subnet ","Subnet"]
["变电","substation","Substation"]
["夏季","summer","Summer"]
["供应商","supplier","Supplier"]
["供电/供水","supply","Supply"]
["表面","Surface","Surface"]
["浪涌","surge","Surge"]
["门翼/摆门/回转","swing","Swing"]
["开关柜/开关/交换机/合位","switchgear","Switch"]
["驻波比","standing wave ratio","SWR"]
["系统","system","Sys"]
["通话","talk","Talk"]
["防拆（输出信号）","tamper","Tamper"]
["箱/槽","tank","Tank"]
["收发器","tansceiver","Tansceiver"]
["冷(水)/自来水","tap","Tap"]
["（伴热）带","tape","Tape"]
["露点温度","dew-point temprature","Td"]
["技术","technology","Tech"]
["齿","teeth","Teeth"]
["温度","temperature","Temp"]
["临时","temporary","Temporary"]
["租户/租赁","tenants","Tenant"]
["终端/接线端子","terminal","Terminal"]
["试验","test","Test"]
["黑球温度","black globe temperature","Tg"]
["总谐波失真","total harmonic distortion","THD"]
["热","thermal","Thermal"]
["电热","thermoelectic","Thermoelectic"]
["厚度","thickness","Thick"]
["螺纹","thread","Thread"]
["阈值/门限","threshold","Threshold"]
["节流","throttle","Throttle"]
["吞吐量","throughput","Throughput"]
["阶梯","tiered","Tier"]
["分时段/时间","time-of-use/time","Time"]
["坐便器","toilet","Toilet"]
["公差","tolerance","Tolerance"]
["顶","top ","Top"]
["全/总","total ","Tot"]
["触摸","touch","Touch"]
["塔","tower","Tower"]
["有毒的","toxic","Toxic"]
["伴热","trace","Trace"]
["传（热）/变压器/转换器/互感器","transformers","Trans"]
["传输","transfer","Transfer"]
["横移运行","translation","Translation"]
["发射","transmit","Transmit"]
["透光率","transmittance","Transmittance"]
["发射机","transmitter","Transmitter"]
["横移","traverse","Traverse"]
["塔盘","tray","Tray"]
["处理","treat","Treat"]
["树","tree","Tree"]
["触发器/触发","trigger","Trigger"]
["跳位","trip","Trip"]
["脱扣/脱扣器","tripper","Tripper"]
["干线的","trunk","Trunk"]
["桁架","truss","Truss"]
["显像管","tube","Tube"]
["高频头","tuner","Tuner"]
["浊度","turbidity","Turbidity"]
["湿球温度","wet-bulb temprature","Twb"]
["类型","type","Type"]
["电压","voltage","U"]
["不平衡","unbalance","Unbalance"]
["低于/欠（压）/地下","under","Under"]
["均匀度","uniformity","Uniform"]
["机组/单元/单位","unit","Unit"]
["上","up ","Up"]
["上传","upload","Upload"]
["市内","urban","Urban"]
["使用","use","Use"]
["用户","user","User"]
["紫外线","ultraviolet","UV"]
["速度","velocity","V"]
["无人/空闲","vacant","Vacant"]
["真空度","vacuum","Vacuum"]
["值","value","Value"]
["阀门","valve","Valve"]
["蒸汽","vapor","Vapor"]
["通气/通风","ventilation ","Vent"]
["版本","version","Version"]
["垂直的","vertical","Vertical"]
["变频器/变频","variable frequency drive","VFD"]
["视频/录像","video","Video"]
["视角","view ","View"]
["病毒","virus","Virus"]
["能见度","visibility","Vision"]
["VOC","VOC","VOC"]
["语音","voice","Voice"]
["波动率","volatility","Volatility"]
["体积","volume","Volume"]
["音量","volumn","Volumn"]
["x向速度","velocity of x dirction","Vx"]
["y向速度","velocity of x dirction","Vy"]
["z向速度","velocity of x dirction","Vz"]
["墙","wall","Wall"]
["保修期","warranty period","Warranty"]
["战时","wartime","Wartime"]
["盥洗","wash","Wash"]
["废弃","waste ","Waste"]
["水/制水","water","Water"]
["瀑布","waterfall","Waterfall"]
["防水板/防水","waterproof","Waterproof"]
["波形","Waveform","Wave"]
["天气状态","weather","Weather"]
["网址网站","website","Web"]
["腹板","webs","Webs"]
["重量","weight","Weight"]
["井道","wellhole","Well"]
["湿的","wet","Wet"]
["白","white","White"]
["窗户","window","Window"]
["宽度","width","Width"]
["（室外）风","wind","Wind"]
["绕阻","windings","Winding"]
["冬季","winter","Winter"]
["导线","wire","Wire"]
["无线","wireless","Wireless"]
["耐受","withstand","Withstand"]
["工作","work","Work"]
["最不利","worst ","Worst"]
["空调末端空气输配系数","AC terminal distribution coefficiency","WTFac"]
["冷却水输配系数","cooling water distribution coefficiency","WTFc"]
["冷冻水输配系数","chilling water distribution coefficiency","WTFch"]
["热水输配系数","heating water distribution coefficiency","WTFht"]
["厨房排油烟系统空气输配系数","Lampblack distribution coefficiency","WTFlb"]
["通风系统空气输配系数","ventilation distribution coefficiency","WTFvt"]
["零点","zero ","Zero"]
["区域/分区","zone","Zone"]