{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["系统","设备部件"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"系统","index":0,"n_rows":19,"n_cols":11,"rows_kept":19,"cut":false,"hidden":false,"merged":[[8,10,18,10],[10,0,10,1],[8,0,8,1],[9,0,9,1],[15,0,16,0],[11,1,13,1],[11,0,14,0],[0,0,0,9],[4,0,7,1],[1,0,1,1],[2,0,2,1],[3,0,3,1]]}
["系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"系统ID","SysID",null,"Str",null,"X"]
[null,null,"系统名称","SysName",null,"Str",null,"X"]
["基本信息",null,"系统本地编码","SysLocalID",null,"Str","S","B1"]
[null,null,"系统本地名称","SysLocalName",null,"Str","S","B1"]
[null,null,"设计图纸中编码","CADID",null,"Str","R","B1"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
["技术参数",{"$nulls":9},"具体补充"]
["控制参数"]
["运行参数"]
["设定参数","基本设定参数","系统开关设定","SysSwitchSet",null,"Step","S","L","0. 关闭 1. 开启"]
[null,null,"系统开设定","SysOnSet",null,"Step","S","L","0. 正常 1. 开启"]
[null,null,"系统关设定","SysOffSet",null,"Step","S","L","0. 正常 1. 关闭"]
[null,"其他设定参数"]
["事件记录","报警消息"]
[null,"事件记录",{"$nulls":7},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]
["其他参数",{"$nulls":8},"产品层链接"]

{"sheet":"设备部件","index":1,"n_rows":77,"n_cols":11,"rows_kept":77,"cut":false,"hidden":false,"merged":[[4,0,9,1],[59,1,61,1],[64,0,64,1],[65,0,65,1],[66,0,66,1],[64,10,76,10],[76,0,76,1],[75,0,75,1],[73,0,74,0],[0,0,0,9],[15,1,23,1],[67,0,72,0],[62,1,63,1],[1,0,1,1],[2,0,2,1],[3,0,3,1],[10,0,58,0],[10,1,14,1],[24,1,33,1],[34,1,46,1],[47,1,54,1],[55,1,58,1],[67,1,71,1],[59,0,63,0]]}
["设备"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"设备ID","EquipID",null,null,null,"X"]
[null,null,"设备名称","EquipName",null,null,null,"X"]
["基本信息",null,"设备本地编码","EquipLocalID ",null,"Str","S","B1"]
[null,null,"设备本地名称","EquipLocalName",null,"Str","S","B1"]
[null,null,"设备二维码图片","EquipQRCode",null,"Attachment","M ","F2"]
[null,null,"设计图纸中编码","CADID",null,"Str","M ","B1"]
[null,null,"BIM模型中编码","BIMID ",null,"Str","R","N2"]
[null,null,"BIM模型中坐标","BIMLocation",null,"Str","R","N2"]
["台账参数","设备厂家","品牌","Brand",null,"Str","S","B1"]
[null,null,"设备型号","Specification",null,"Str","S","B1"]
[null,null,"生产厂家","Manufacturer",null,"Str","M ","B1"]
[null,null,"生产日期","ProductDate",null,"DTime","M ","C5",null,"同出厂日期"]
[null,null,"出厂编号","SerialNum",null,"Str","R","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","M ","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M ","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M ","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应合同编号","SupplierContractID",null,"Str","R","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"现场安装","长","Length","m","Num","M ","A2"]
[null,null,"宽","Width","m","Num","M ","A2"]
[null,null,"高","Height","m","Num","M ","A2"]
[null,null,"净重","NetWeight","kg","Num","M ","A2"]
[null,null,"主体材质","Material",null,"Str","R","B1"]
[null,null,"所属部门","Dept",null,"Str","R","B1"]
[null,null,"安装位置","InstallLocation",null,"Str","M ","B1"]
[null,null,"安装图纸","InstallDrawing",null,"Attachment","R","F2"]
[null,null,"安装照片","InstallPic",null,"Attachment","R","F2"]
[null,null,"安装质检报告","CheckReport",null,"Attachment","R","F2"]
[null,"运行维保","维保负责人","Principal",null,"Str","R","B1"]
[null,null,"投产日期","StartDate",null,"DTime","M ","C5",null,"开始使用的日期"]
[null,null,"保修期","Warranty","年","Num","M ","A2"]
[null,null,"维保合同截止日期","MaintainDeadline",null,"DTime","M ","C5"]
[null,null,"使用寿命","ServiceLife","年","Num","R","A2",null,"同使用年限"]
[null,null,"预计报废日期","ExpectScrapDate",null,"DTime","R","C5"]
[null,null,"保养周期","MaintainPeriod","天","Num","M ","A2"]
[null,null,"维修商单位名称","Maintainer",null,"Str","M ","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M ","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M ","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,"保险文件","保险公司名称","Insurer",null,"Str","R","B1"]
[null,null,"保险公司联系人","InsurerContactor",null,"Str","R","B1"]
[null,null,"保险公司联系电话","InsurerPhone",null,"Str","R","B1"]
[null,null,"保险公司电子邮件","InsurerEmail",null,"Str","R","B1"]
[null,null,"保险公司网址","InsurerWeb",null,"Str","R","B1"]
[null,null,"保险公司传真","InsurerFax",null,"Str","R","B1"]
[null,null,"保险单号","InsuranceNum",null,"Str","R","B1"]
[null,null,"保险文件","InsuranceFile",null,"Attachment","R","F2"]
[null,"照片文档","设备铭牌照片","Nameplate",null,"Attachment","M ","F2"]
[null,null,"设备照片","Pic",null,"Attachment","M ","F2"]
[null,null,"设备图纸","Drawing",null,"Attachment","R","F2"]
[null,null,"设备文档","Archive",null,"Attachment","R","F2"]
["通讯参数","协议","连接方式","ConnectingMethod",null,"Enum","S","D1","1. TCP 2. UDP 3. 工业总线 99. 其他"]
[null,null,"通讯协议","Protocol ",null,"Str","S","B1"]
[null,null,"通讯最小间隔","SampleInterval ","10ms","Num","S","A2"]
[null,"通讯地址","物理地址","PhysicalEncoding",null,"Str","S","B1",null,"拨码，IP地址"]
[null,null,"协议地址","LogicalAddress ",null,"Str","S","B1",null,"软件设定"]
["技术参数",{"$nulls":9},"具体补充"]
["控制参数"]
["运行参数"]
["设定参数","基本设定参数","设备开关设定","EquipSwitchSet",null,"Boolv","S",null,"0. 关闭 1. 开启"]
[null,null,"设备开设定","EquipOnSet",null,"Boolv","S",null,"0. 正常 1. 开启"]
[null,null,"设备关设定","EquipOffSet",null,"Boolv","S",null,"0. 正常 1. 关闭"]
[null,null,"设备频率设定","EquipFreqSet","Hz","Inst","S"]
[null,null,"设备开度设定","EquipOpeningSet","%","Inst","S"]
[null,"其他设定参数"]
["事件记录","报警消息",{"$nulls":7},"产品层链接"]
[null,"事件通知",{"$nulls":7},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]
["自定义参数"]