{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["FEFE灭火器"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"FEFE灭火器","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"cut":false,"hidden":false,"merged":[[21,0,21,1],[22,0,22,1],[23,0,23,1],[0,0,0,9],[1,0,1,1],[10,1,11,1],[16,1,17,1],[18,1,19,1],[2,0,20,0],[12,1,15,1],[2,1,9,1]]}
["灭火器"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","通用","灭火剂类型","ExtingushantType",null,"Enum","S","D1","1. 泡沫 2. 干粉 3. 二氧化碳 4. 卤代烷 5. 清水 99. 其他"]
[null,null,"灭火器形式","ExtinguisherType",null,"Enum","S","D1","1. 手提式 2. 悬挂式 3. 推车式 4. 投掷式 99. 其他"]
[null,null,"灭火等级","ExtinguishLev",null,"MEnum","M","D2","1. A类 2. B类 3. C类 4. D类 99. 其他 （可多选）"]
[null,null,"水压试验压力","WaterPressTest","MPa","Num","R","A2"]
[null,null,"有效喷射时间","RatedSprayTime","s","Num","R","A2"]
[null,null,"有效喷射距离","RatedSprayDistance","m","Num","R","A2"]
[null,null,"喷射滞后时间","SprayLagTime","s","Num","R","A2"]
[null,null,"压力等级","PressLev",null,"Enum","M","D1","1. 低压L 2. 中压M 3. 高压H 4. 超高压U 99. 其他"]
[null,"泡沫灭火器","泡沫灭火剂填充量","ExtinguishantChargeCap","L","Num","M","A2"]
[null,null,"泡沫灭火器发泡量","FrothingVolume","L/s","Num","R","A2"]
[null,"干粉灭火器","干粉灭火器驱动气体","DriveGasType",null,"Enum","R","D1","1. 氮气 2. 二氧化碳 99. 其他"]
[null,null,"干粉灭火剂成分","DryPowderType",null,"Enum","M","D1","1. 碳酸氢盐 2. 磷酸铵盐 3. 氯化钠 4. 氯化钾 99. 其他"]
[null,null,"干粉灭火剂容量","DryPowderCap","L","Num","M","A2"]
[null,null,"干粉灭火器充氮压力","NitrogenPress","MPa","Num","R","A2"]
[null,"二氧化碳灭火器","二氧化碳灭火剂容量","CO2Cap","L","Num","M","A2"]
[null,null,"二氧化碳灭火器喷射剩余量","SprayRemain","%","Num","R","A2"]
[null,"卤代烷灭火器","卤代烷灭火剂成分","HaloalkaneType",null,"Enum","R","D1","1. 1211（二氟一氯一溴甲烷） 2. 1301（三氟一溴甲烷） 99. 其他"]
[null,null,"卤代烷灭火剂容量","HaloalkaneCap","L","Num","M","A2"]
[null,"清水灭火器","清水灭火剂容量","WaterCap","L","Num","M","A2"]
["运行参数",null,"使用情况","UseStatus",null,"Boolv","M","E1","0. 未使用 1. 使用中"]
["设定参数"]
["报警消息"]