{"text_format":"2","workbook":"xlsx","n_sheets":16,"sheets":["土建设施类对象（通用）","基础","柱","梁","桁架","墙","楼板","屋顶","楼梯","门","窗","幕墙","采光顶","雨蓬","外遮阳帘","室内装饰"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"土建设施类对象（通用）","index":0,"n_rows":56,"n_cols":10,"rows_kept":56,"cut":false,"hidden":false,"merged":[[0,0,0,8],[45,1,49,1],[50,1,52,1],[1,0,1,1],[2,0,2,1],[3,0,3,1],[4,0,6,1],[7,0,52,0],[7,1,11,1],[12,1,21,1],[22,1,30,1],[31,1,44,1]]}
["土建设施"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
[null,null,"设施ID","FacilityID",null,"Str","X"]
[null,null,"设施名称","FacilityName",null,"Str","X"]
["基本信息",null,"设施本地编码","FacilityLocalID ",null,"Str","B1"]
[null,null,"设施本地名称","FacilityLocalName",null,"Str","B1"]
[null,null,"BIM模型中编码","BIMID ",null,"Str","N2"]
["台账信息","设施/材料厂家","品牌","Brand",null,"Str","B1"]
[null,null,"设施型号","Specification",null,"Str","B1"]
[null,null,"生产厂家","Manufacturer",null,"Str","B1"]
[null,null,"生产日期","ProductDate",null,"Time","C5",null,"同 出厂日期"]
[null,null,"出厂编号","SerialNum",null,"Str","B1"]
[null,"现场安装/施工","长","Length","m","Num","A2"]
[null,null,"宽","Width","m","Num","A2"]
[null,null,"高","Height","m","Num","A2"]
[null,null,"净重","NetWeight","kg","Num","A2"]
[null,null,"主体材质","Material",null,"Str","B1"]
[null,null,"所属部门","Dept",null,"Str","B1"]
[null,null,"安装位置","InstallLocation",null,"Str","B1"]
[null,null,"安装图纸","Drawing",null,"Attachment","F2"]
[null,null,"安装照片","Pic",null,"Attachment","F2"]
[null,null,"质检报告","CheckReport",null,"Attachment","F2"]
[null,"供应&购买","供应商单位名称","Supplier",null,"Str","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","B1"]
[null,null,"资产编号","AssetID",null,"Str","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","A2"]
[null,"维保","设施负责人","Principal",null,"Str","B1"]
[null,null,"维保编码","MaintainID",null,"Str","B1"]
[null,null,"投产日期","StartDate",null,"Time","C5",null,"开始使用的日期"]
[null,null,"维保合同截止日期","MaintainDeadline",null,"Time","C5"]
[null,null,"使用寿命","ServiceLife","年","Num","A2",null,"同 使用年限"]
[null,null,"设施保修期","Warranty","年","Num","A2"]
[null,null,"保养周期","MaintainCycle","天","Num","A2"]
[null,null,"维修商单位名称","Maintainer",null,"Str","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","B1"]
[null,null,"投产状态","Status",null,"Enum","D1","1. 投产 2. 未投产 3. 其他"]
[null,"保险","保险公司","Insurer",null,"Str","B1"]
[null,null,"保险联系人","InsurerContactor",null,"Str","B1"]
[null,null,"保险联系电话","InsurerPhone",null,"Str","B1"]
[null,null,"保险单号","InsuranceNum",null,"Str","B1"]
[null,null,"保险文件","InsuranceFile",null,"Attachment","F2"]
[null,"照片&文档","设施铭牌照片","Nameplate",null,"Attachment","F2"]
[null,null,"设施照片","Pic",null,"Attachment","F2"]
[null,null,"设施文档","Archive",null,"Attachment","F2"]
["技术参数",null,null,"TechPara",{"$nulls":5},"具体补充"]
["事件记录",null,null,"EventLog",null,"Str","Y",null,"产品层链接"]
["工单存档",null,null,"OrderLog",null,"Str","Y",null,"产品层链接"]

{"sheet":"基础","index":1,"n_rows":50,"n_cols":9,"rows_kept":50,"cut":false,"hidden":false,"merged":[[27,1,31,1],[32,1,36,1],[37,1,40,1],[2,1,16,1],[0,0,0,8],[1,0,1,1],[2,0,49,0],[41,1,43,1],[45,1,49,1],[17,1,23,1],[24,1,26,1]]}
["基础"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","基础类型","FoundType"," ","Enum","D1","1. 独立基础 2. 条形基础 3. 筏板基础 4. 箱形基础 5. 桩基础 6. 其他"]
[null,null,"材料类别","MaterialType",null,"Enum","D1","1. 钢筋混凝土结构 2. 砌体结构 3. 钢结构 4. 木结构 5. 其他"]
[null,null,"基础垫层","FoundCushionType",null,"Enum","D1","1. 素土垫层 2. 灰土垫层 3. 素砼垫层 4. 其他"]
[null,null,"防水板","WaterproofType",null,"Enum","D1","1. 柔性防水板 2. 刚性防水板 3. 其他"]
[null,null,"是否有抗浮锚杆","isAnchor",null,"Bool","E1","0. 无 1. 有"]
[null,null,"抗浮锚杆长度","AnchorLength","mm","Num","A2"]
[null,null,"抗浮锚杆直径","AnchorDiameter","mm","Num","A2"]
[null,null,"电梯基坑数量","ElevatorFoundNum","个","Num","A2"]
[null,null,"电梯基坑长度","ElevatorFoundLength","mm","Num","A2"]
[null,null,"电梯基坑宽度","ElevatorFoundWidth","mm","Num","A2"]
[null,null,"电梯基坑深度","ElevatorFoundDepth","mm","Num","A2"]
[null,null,"集水坑数量","WaterPuddleNum","个","Num","A2"]
[null,null,"集水坑长度","WaterPuddleLength","mm","Num","A2"]
[null,null,"集水坑宽度","WaterPuddleWidth","mm","Num","A2"]
[null,null,"集水坑深度","WaterPuddleDepth","mm","Num","A2"]
[null,"独立基础","独立基础种类","IndependentFoundType",null,"Enum","D1","1. 阶型基础 2. 坡型基础 3. 杯型基础 4. 其他"]
[null,null,"独立基础长度","IndependentFoundLength","mm","Num","A2"]
[null,null,"独立基础宽度","IndependentFoundWidth","mm","Num","A2"]
[null,null,"独立基础高度","IndependentFoundThick","mm","Num","A2"]
[null,null,"独立基础坡型高度","IndependentFoundSlopeHeight","mm","Num","A2"]
[null,null,"独立基础台阶高度","IndependentFoundStepHeight","mm","Num","A2"]
[null,null,"独立基础台阶宽度","IndependentFoundStepWidth","mm","Num","A2"]
[null,"条形基础","条形基础长度","BarFoundLength","mm","Num","A2"]
[null,null,"条形基础宽度","BarFoundWidth","mm","Num","A2"]
[null,null,"条形基础高度","BarFoundThick","mm","Num","A2"]
[null,"筏板基础","筏板基础长度","RaftFoundLength","mm","Num","A2"]
[null,null,"筏板基础宽度","RaftFoundWidth","mm","Num","A2"]
[null,null,"筏板板厚度","RaftFoundThick","mm","Num","A2"]
[null,null,"基础梁宽","RaftFoundBeamWidth","mm","Num","A2"]
[null,null,"基础梁高","RaftFoundBeamHeight","mm","Num","A2"]
[null,"箱形基础","箱形基础长度","BoxFoundLength","mm","Num","A2"]
[null,null,"箱形基础宽度","BoxFoundWidth","mm","Num","A2"]
[null,null,"箱形基础底板厚度","BoxFoundBottomThick","mm","Num","A2"]
[null,null,"箱形基础顶板厚度","BoxFoundTopThick","mm","Num","A2"]
[null,null,"箱形基础中间纵横强厚度","BoxFoundWallThick","mm","Num","A2"]
[null,"桩基础","桩基种类","PileFoundType",null,"Enum","D1","1. 摩擦型桩 2. 端承型桩 3. 其他"]
[null,null,"桩直径","PileFoundDiameter","mm","Num","A2"]
[null,null,"桩长度","PileFoundLength","mm","Num","A2"]
[null,null,"桩承台","PileFoundPlatType"," ","Enum","D1","1. 地承台 2. 高承台 3. 其他"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢结构用钢截面形状","SteelCrossShapeType",null,"Enum","D2","1. 工字型钢 2. H型钢 3. I型钢 4. Z型钢 5. 方管 6. 角钢 7. 槽钢 8. 其他 （可多选）"]
[null,null,"型钢翼缘宽度","SteelFlangeWidth","mm","Num","A2"]
[null,null,"型钢翼缘厚度","SteelFlangeThick","mm","Num","A2"]
[null,null,"型钢腹板高度","SteelWebsHight","mm","Num","A2"]
[null,null,"型钢腹板厚度","SteelWebsThick","mm","Num","A2"]

{"sheet":"柱","index":2,"n_rows":20,"n_cols":9,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,19,0],[10,1,12,1],[14,1,19,1],[2,1,9,1]]}
["柱"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","是否为承重柱","isLoadBearColumn"," ","Bool","E1","0. 否 1. 是"]
[null,null,"截面形状","CrossShapeType",null,"Enum","D1","1. 矩形 2. 圆形 3. 其他"]
[null,null,"矩形截面长度","RectangleCrossLength","mm","Num","A2"]
[null,null,"矩形截面宽度","RectangleCrossWidth","mm","Num","A2"]
[null,null,"圆形截面直径","CircularCrossDiameter","mm","Num","A2"]
[null,null,"柱子长度","ColumnLength","mm","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝土结构 2. 砌体结构 3. 钢结构 4. 木结构 5. 其他"]
[null,null,"柱子外装","DecorationType",null,"Enum","D1","1. 砂岩 2. 防腐木 3. 氟碳室外铝塑板 4. 大理石 5. 铜艺通花 6. 喷塑外墙漆 7. 贴瓷片 8. 其他"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢结构用钢截面形状","SteelCrossShapeType",null,"Enum","D1","1. 工字型钢 2. H型钢 3. I型钢 4. Z型钢 5. 方管 6. 角钢 7. 槽钢 8. 其他 （可多选）"]
[null,null,"型钢翼缘宽度","SteelFlangeWidth","mm","Num","A2"]
[null,null,"型钢翼缘厚度","SteelFlangeThick","mm","Num","A2"]
[null,null,"型钢腹板高度","SteelWebsHight","mm","Num","A2"]
[null,null,"型钢腹板厚度","SteelWebsThick","mm","Num","A2"]
[null,null,"钢结构螺栓型号","SteelBoltSpecification",null,"Str","B1"]

{"sheet":"梁","index":3,"n_rows":19,"n_cols":9,"rows_kept":19,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,18,0],[2,1,8,1],[9,1,11,1],[13,1,18,1]]}
["梁"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","梁类型","BeamType"," ","Enum","D1","1. 主梁 2. 次梁 3. 其他"]
[null,null,"截面形状","CrossShapeType",null,"Enum","D1","1. 矩形 2. 圆形 3. 其他"]
[null,null,"矩形截面长度","RectangleCrossLength","mm","Num","A2"]
[null,null,"矩形截面宽度","RectangleCrossWidth","mm","Num","A2"]
[null,null,"圆形截面直径","CircularCrossDiameter","mm","Num","A2"]
[null,null,"梁长","BeamLength","mm","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝土结构 2. 砌体结构 3. 钢结构 4. 木结构 5. 其他"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢结构用钢截面形状","SteelCrossShapeType",null,"Enum","D2","1. 工字型钢 2. H型钢 3. I型钢 4. Z型钢 5. 方管 6. 角钢 7. 槽钢 8. 其他 （可多选）"]
[null,null,"型钢翼缘宽度","SteelFlangeWidth","mm","Num","A2"]
[null,null,"型钢翼缘厚度","SteelFlangeThick","mm","Num","A2"]
[null,null,"型钢腹板高度","SteelWebsHight","mm","Num","A2"]
[null,null,"型钢腹板厚度","SteelWebsThick","mm","Num","A2"]
[null,null,"钢结构螺栓型号","SteelBoltSpecification",null,"Str","B1"]

{"sheet":"桁架","index":4,"n_rows":12,"n_cols":9,"rows_kept":12,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,11,1]]}
["桁架"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数",null,"桁架类型","TrussType"," ","Enum","D1","1. 主桁架 2. 次桁架 3. 其他"]
[null,null,"桁架高度","TrussHight","mm","Num","A2"]
[null,null,"桁架长度","TrussLength","mm","Num","A2"]
[null,null,"截面形状","CrossShapeType",null,"Enum","D1","1. 矩形 2. 圆形 3. 其他"]
[null,null,"矩形截面长度","RectangleCrossLength","mm","Num","A2"]
[null,null,"矩形截面宽度","RectangleCrossWidth","mm","Num","A2"]
[null,null,"圆形截面直径","CircularCrossDiameter","mm","Num","A2"]
[null,null,"壁厚","Thick","mm","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢结构 2. 木结构 3. 其他"]
[null,null,"钢管品种","SteelPipeSpecification"," ","Str","B1"]

{"sheet":"墙","index":5,"n_rows":22,"n_cols":9,"rows_kept":22,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[17,1,19,1],[2,1,16,1],[2,0,21,0]]}
["墙"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","是否为承重墙","isLoadBearWall"," ","Bool","E1","0. 否 1. 是"]
[null,null,"墙位置","WallType",null,"Enum","D1","1. 内墙 2. 外墙 3. 其他"]
[null,null,"墙厚","WallThick","mm","Num","A2"]
[null,null,"墙长","WallLength","m","Num","A2"]
[null,null,"墙高","WallWidth","m","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝 2. 砌体结构 3. 钢结构 4. 木结构 5. 其他"]
[null,null,"保温方式","InsulationType",null,"Enum","D1","1. 外保温 2. 内保温 3. 无保温 4. 其他"]
[null,null,"保温层厚度","InsulationThick","mm","Num","A2"]
[null,null,"保温材料","InsulationMaterialType",null,"Enum","D2","1. 无机活性保温材料 2. 硅酸盐保温材料 3. 陶瓷保温材料 4. 舒乐板 5. 挤塑板 6. EPS泡沫板 7. 其他 （可多选）"]
[null,null,"传热系数","HeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"蓄热系数","HeatStoreCoeff","W/(m2K)","Num","A2"]
[null,null,"传湿系数","DTransCoeff","g/(hm2Pa)","Num","A2"]
[null,null,"蓄湿系数","DStoreCoeff","g/(hm2Pa)","Num","A2"]
[null,null,"内墙/外墙内涂料","InWallCoatType",null,"Enum","D1","1. 液体壁纸 2. 仿瓷涂料 3. 多彩涂料 4. 新型粉末涂料 5. 水溶性涂料 6. 其他"]
[null,null,"外墙外涂料","OutWallCoatType",null,"Enum","D1","1. 聚乙烯醇缩丁醛外墙涂料 2. 改性聚乙烯醇外墙涂料 3. 过氯乙烯外墙涂料 4. 丙烯酸酯外墙涂料 5. 有机硅改性丙烯酸树脂外墙涂料 6. 硅丙树脂外墙涂料 7. 醇酸树脂外墙涂料 8. 氯化橡胶外墙涂料 9. 高耐候性外墙乳胶涂料 10. 氟碳外墙涂料 11. 其他"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢板型号","SteelPlateSpecification",null,"Str","B1"]

{"sheet":"楼板","index":6,"n_rows":16,"n_cols":9,"rows_kept":16,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[11,1,13,1],[2,1,10,1],[2,0,15,0]]}
["楼板"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","板厚","Thick","mm","Num","A2"]
[null,null,"板长","Length","mm","Num","A2"]
[null,null,"板宽","Width","mm","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝土结构 2. 钢结构 3. 木结构 4. 复合楼板 5. 其他"]
[null,null,"板的结构类型","StructureType",null,"Enum","D1","1. 单向板 2. 双向板 3. 悬挑板 4. 其他"]
[null,null,"传热系数","HeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"是否有防水","isWaterproof",null,"Bool","E1","0. 无 1. 有"]
[null,null,"防水材料","WaterproofType",null,"Enum","D1","1. 防水砂浆 2. 防水涂料 3. 其他"]
[null,null,"装饰装修","DecorationType",null,"Enum","D1","1. 木地板 2. 瓷砖 3. 抹灰 4. 其他"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1.一级钢 2.二级钢 3.三级钢 4.四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1.MU3.5 2.MU5.0 3.MU7.5 4.MU10.0 5.MU15.0 6.MU20 7. 其他"]
[null,"钢结构","钢板型号","SteelPlateSpecification",null,"Str","B1"]

{"sheet":"屋顶","index":7,"n_rows":22,"n_cols":9,"rows_kept":22,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,21,0],[17,1,19,1],[2,1,16,1]]}
["屋顶"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","外形","RoofType",null,"Enum","D1","1. 平屋顶 2. 坡屋顶 3. 其他"]
[null,null,"是否为上人屋顶","isAccessRoof",null,"Bool","E1","0. 否 1. 是"]
[null,null,"传热系数","HeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"蓄热系数","HeatStoreCoeff","W/(m2K)","Num","A2"]
[null,null,"传湿系数","DTransCoeff","g/(hm2Pa)","Num","A2"]
[null,null,"蓄湿系数","DStoreCoeff","g/(hm2Pa)","Num","A2"]
[null,null,"屋顶厚度","RoofThick","mm","Num","A2"]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝土结构 2. 钢结构 3. 木结构 4. 复合楼板 5. 其他"]
[null,null,"排水方式","DrainType",null,"Enum","D1","1. 屋面外排水 2. 屋面内排水 3. 其他"]
[null,null,"防水材料","WaterproofType",null,"Enum","D1","1. 防水砂浆 2. 防水涂料 3. 防水沥青 4. 其他"]
[null,null,"装饰装修","DecorationType",null,"Enum","D1","1. 瓦面 2. 抹灰 3. 其他"]
[null,null,"是否有女儿墙","isDaughterWall",null,"Bool","E1","0. 否 1. 是"]
[null,null,"女儿墙厚度","DaughterWallThick","mm","Num","D1"]
[null,null,"女儿墙长度","DaughterWallLength","mm","Num","D1"]
[null,null,"女儿墙高度","DaughterWallWidth","mm","Num","D1"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢板型号","SteelPlateSpecification",null,"Str","B1"]

{"sheet":"楼梯","index":8,"n_rows":28,"n_cols":9,"rows_kept":28,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,27,0],[8,1,13,1],[17,1,19,1],[23,1,25,1],[14,1,16,1],[20,1,22,1],[2,1,7,1]]}
["楼梯"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","通用","外形","StairType",null,"Enum","D1","1. 直楼梯 2. 旋转楼梯 3. 折线 4. 其他"]
[null,null,"类型","RunType",null,"Enum","D1","1. 单跑 2. 双跑 3. 多跑 4. 其他"]
[null,null,"位置","LocationType",null,"Enum","D1","1. 室内楼梯 2. 室外楼梯 3. 入户台阶 4. 无障碍通道 5. 车库坡道 6. 其他"]
[null,null,"功能","FuncType",null,"Enum","D2","1. 安全楼梯 2. 防火楼梯 3. 主要楼梯 4. 辅助楼梯 5. 其他 （多选） "]
[null,null,"材料类型","MaterialType"," ","Enum","D1","1. 钢筋混凝土结构 2. 钢结构 3. 木结构 4. 复合结构 5. 其他"]
[null,null,"装饰装修","DecorationType",null,"Enum","D1","1. 木地板 2. 瓷砖 3. 抹灰 4. 其他"]
[null,"梯段板","梯段板长度","BoardLength","mm","Num","A2"]
[null,null,"梯段板高度","BoardHeight","mm","Num","A2"]
[null,null,"梯段板厚度","BoardThick","mm","Num","A2"]
[null,null,"踏步高度","StepHeight","mm","Num","A2"]
[null,null,"踏步宽度","StepWidth","mm","Num","A2"]
[null,null,"踏步数","StepNum","阶","Num","A2"]
[null,"坡道","坡道长度","SlopeLength","mm","Num","A2"]
[null,null,"坡道宽度","SlopeWidth","mm","Num","A2"]
[null,null,"坡道坡度","SlopeGradient","°","Num","A2"]
[null,"楼梯休息平台","休息平台厚度","PlatThick","mm","Num","A2"]
[null,null,"休息平台长度","PlatLength","mm","Num","A2"]
[null,null,"休息平台宽度","PlatWidth","mm","Num","A2"]
[null,"扶手","扶手材料","RailingMaterialType",null,"Enum","D1","1. 石材 2. 木材 3. 不锈钢 4. 其他"]
[null,null,"扶手栏杆间距","RailingSpace","mm","Num","A2"]
[null,null,"扶手栏杆高度","RailingHeight","mm","Num","A2"]
[null,"钢筋混凝土结构","混凝土强度等级","ConcreteStrengthLev",null,"Enum","D1","1. C20 2. C25 3. C30 4. C35 5. C40 6. C45 7. C50 8. C55 9. 其他"]
[null,null,"钢筋强度等级","ReinStrengthLev",null,"Enum","D1","1. 一级钢 2. 二级钢 3. 三级钢 4. 四级钢 5. 其他"]
[null,null,"钢筋直径","ReinDiameter"," ","Enum","D2","1. 6mm 2. 8mm 3. 10mm 4. 12mm 5. 14mm 6. 16mm 7. 18mm 8. 20mm 9. 22mm 10. 25mm 11. 28mm 12. 32mm 13. 其他 （可多选）"]
[null,"砌体结构","砌块强度等级","BlockStrengthLev",null,"Enum","D1","1. MU3.5 2. MU5.0 3. MU7.5 4. MU10.0 5. MU15.0 6. MU20.0 7. 其他"]
[null,"钢结构","钢板型号","SteelPlateSpecification",null,"Str","B1"]

{"sheet":"门","index":9,"n_rows":13,"n_cols":9,"rows_kept":13,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,12,1]]}
["门"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数",null,"类型","DoorType",null,"Enum","D1","1. 门 2. 门联窗 3. 其他"]
[null,null,"开启方式","OpenType"," ","Enum","D1","1. 卷帘门 2. 平开门 3. 弹簧门 4. 折叠门 5. 推拉门 6. 旋转门 7. 其他"]
[null,null,"材料","MaterialType"," ","Enum","D1","1. 木门 2. 塑料门 3. 铝合金 4. 塑钢 5. 石门 6. 玻璃门 7. 其他"]
[null,null,"门扇类型","OpenType",null,"Enum","D1","1. 单开 2. 双开 3. 其他"]
[null,null,"外形","LeafType",null,"Enum","D1","1. 矩形门 2. 圆门 3. 其他"]
[null,null,"门高","DoorHeight","mm","Num","A2"]
[null,null,"门宽","DoorWidth","mm","Num","A2"]
[null,null,"位置","PositionType",null,"Enum","D1","1. 单元门 2. 入户门 3. 室内门 5. 厨房门 6. 卫生间门 7. 其他"]
[null,null,"功能","FuncType",null,"Enum","D2","1. 防火门 2. 防盗门 3. 其他 （多选）"]
[null,null,"传热系数","HeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"漏风量","AirLeakFlow","m3/h","Num","A2"]

{"sheet":"窗","index":10,"n_rows":13,"n_cols":9,"rows_kept":13,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,12,1]]}
["窗"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数",null,"开启方式","OpenType"," ","Enum","D1","1. 固定窗 2. 上悬窗 3. 中悬窗 4. 下悬窗 5. 立转窗 6. 平开窗 7. 推拉窗 8. 其他"]
[null,null,"窗框材料","FrameMaterialType"," ","Enum","D1","1. 木窗 2. 塑料窗 3. 铝合金窗 4. 塑钢 5. 钢窗 6. 其他"]
[null,null,"窗框传热系数","FrameHeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"玻璃类型","GlassType",null,"Enum","D1","1. 单层玻璃 2. 夹层玻璃 3. 镀膜玻璃 4. 其他"]
[null,null,"玻璃传热系数","GlassHeatTransCoeff","W/(m2K)","Num","A2"]
[null,null,"玻璃遮阳系数","GlassSC",null,"Num","A2"]
[null,null,"窗高","WindowHeight","mm","Num","A2"]
[null,null,"窗宽","WindowWidth","mm","Num","A2"]
[null,null,"功能","FuncType",null,"Enum","D2","1. 节能窗 2. 保温窗 3. 隔热窗 4. 隔音窗 5. 其他 （多选）"]
[null,null,"窗采光系数","LightingCoeff",null,"Num","A1"]
[null,null,"窗冷风渗透系数","AirLeakCoeff",null,"Num","A1"]

{"sheet":"幕墙","index":11,"n_rows":22,"n_cols":9,"rows_kept":22,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,18,0],[2,1,9,1],[10,1,15,1],[16,1,18,1]]}
["幕墙"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","龙骨","龙骨类型","KeelType"," ","Enum","D1","1. 横龙骨 2. 纵龙骨 3. 其他"]
[null,null,"龙骨材料","KeelMaterialType"," ","Enum","D1","1. 钢材 2. 铝合金 3. 其他"]
[null,null,"龙骨材料型号","KeelMaterialSpecification",null,"Str","B1"]
[null,null,"龙骨截面","KeelCrossShapeType",null,"Enum","D1","1. 矩形 2. 圆形 3. 其他"]
[null,null,"矩形龙骨截面长度","KeelRectangleCrossLength","mm","Num","A2"]
[null,null,"矩形龙骨截面宽度","KeelRectangleCrossWidth","mm","Num","A2"]
[null,null,"圆形龙骨截面直径","KeelCircularCrossDiameter","mm","Num","A2"]
[null,null,"龙骨传热系数","KeelHeatTransCoeff","W/(m2K)","Num","A2"]
[null,"嵌板","嵌板类型","PanelMaterialType",null,"Enum","D1","1. 玻璃 2. 金属 3. 陶瓷 4. 石材 5. 其他"]
[null,null,"玻璃幕墙框架类型","PanelFrameType"," ","Enum","D1","1. 明框玻璃幕墙 2. 半隐框玻璃幕墙 3. 隐框玻璃幕墙 4. 其他"]
[null,null,"玻璃嵌板类型","PanelGlassType"," ","Enum","D1","1. 单层玻璃 2. 夹层玻璃 3. 镀膜玻璃 4. 节能玻璃 5. 其他"]
[null,null,"玻璃厚度","PanelThick","mm","Num","A2"]
[null,null,"遮阳系数","PanelSC",null,"Num","A2"]
[null,null,"玻璃传热系数","PanelHeatTransCoeff","W/(m2K)","Num","A2"]
[null,"组件","组件类型","ComponentType",null,"Enum","D2","1. 预埋件 2. 密封胶 3. 垫片 4. 螺栓 5. 其他 （可多选）"]
[null,null,"螺栓型号","ComponentBoltSpecification",null,"Str","B1"]
[null,null,"预埋件类型","ComponentEmbeddedType",null,"Enum","D2","1. 预埋钢管 2. 预埋角钢 3. 其他 （可多选）"]
[]
[]
[{"$nulls":5}," "]

{"sheet":"采光顶","index":12,"n_rows":18,"n_cols":9,"rows_kept":18,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,17,0],[2,1,9,1],[10,1,13,1],[14,1,16,1]]}
["采光顶"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","龙骨","龙骨类型","KeelType"," ","Enum","D1","1. 横龙骨 2. 纵龙骨 3. 其他"]
[null,null,"龙骨材料","KeelMaterialType"," ","Enum","D1","1. 钢材 2. 铝合金 3. 其他"]
[null,null,"龙骨材料型号","KeelMaterialSpecification",null,"Str","B1"]
[null,null,"龙骨截面","KeelCrossShapeType",null,"Enum","D1","1. 矩形 2. 圆形 3. 其他"]
[null,null,"矩形龙骨截面长度","KeelRectangleCrossLength","mm","Num","A2"]
[null,null,"矩形龙骨截面宽度","KeelRectangleCrossWidth","mm","Num","A2"]
[null,null,"圆形龙骨截面直径","KeelCircularCrossDiameter","mm","Num","A2"]
[null,null,"龙骨传热系数","KeelHeatTransCoeff","W/(m2K)","Num","A2"]
[null,"嵌板","玻璃嵌板类型","PanelMaterialType"," ","Enum","D1","1. 单层玻璃 2. 夹层玻璃 3. 镀膜玻璃 4. 节能玻璃 5. 其他"]
[null,null,"玻璃厚度","PanelThick","mm","Num","A2"]
[null,null,"遮阳系数","PanelSC",null,"Num","A2"]
[null,null,"玻璃传热系数","PanelHeatTransCoeff","W/(m2K)","Num","A2"]
[null,"组件","组件类型","ComponentType",null,"Enum","D2","1. 预埋件 2. 密封胶 3. 垫片 4. 螺栓 5. 其他 （可多选）"]
[null,null,"螺栓型号","ComponentBoltSpecification",null,"Str","B1"]
[null,null,"预埋件类型","ComponentEmbeddedType",null,"Enum","D2","1. 预埋钢管 2. 预埋角钢 3. 其他 （可多选）"]
[null,null,"采光系数","LightingCoeff",null,"Num","A1"]

{"sheet":"雨蓬","index":13,"n_rows":7,"n_cols":9,"rows_kept":7,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,6,1]]}
["雨蓬"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数",null,"位置","LocationType"," ","Enum","D1","1. 入户门雨蓬 2. 窗外雨蓬 3. 其他"]
[null,null,"材料","MaterialType"," ","Enum","D1","1. 钢筋混凝土 2. 钢雨蓬 3. 塑料雨蓬 4. 其他"]
[null,null,"雨蓬长度","CanopyLength","mm","Num","A2"]
[null,null,"雨蓬宽度","CanopyWidth","mm","Num","A2"]
[null,null,"坡度","CanopyGradient","°","Num","A2"]

{"sheet":"外遮阳帘","index":14,"n_rows":10,"n_cols":9,"rows_kept":10,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,9,1]]}
["外遮阳帘"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数",null,"类别","ShadeType",null,"Enum","D1","1. 卷轴式 2. 折叠式 3. 叶片翻转式 4. 其他"]
[null,null,"是否有自动控制","isAutoCtrl"," ","Bool","E1","0. 否 1. 是"]
[null,null,"电机型号","MotorSpecification",null,"Str","B1"]
[null,null,"电机额定电压","MotorRatedU","V","Num","A2"]
[null,null,"电机额定功率","MotorRatedP","W","Num","A2"]
[null,null,"电机额定频率","MotorRatedFreq","Hz","Num","A2"]
[null,null,"遮阳帘长度","ShadeLength","mm","Num","A2"]
[null,null,"遮阳帘宽度","ShadeWidth","mm","Num","A2"]

{"sheet":"室内装饰","index":15,"n_rows":27,"n_cols":9,"rows_kept":27,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,1],[2,0,26,0],[2,1,6,1],[7,1,10,1],[11,1,14,1],[15,1,18,1],[19,1,22,1],[23,1,26,1]]}
["室内装饰"]
["分级标签",null,"信息点","信息点编码","单位","类型","输入方式","字典选择"," 备注"]
["技术参数","盥洗盆","盥洗盆数量","WashBasinNum","个","Num","A2"," "]
[null,null,"盥洗盆距地面高度","WashBasinHeight","mm","Num","A2"]
[null,null,"盥洗盆长度","WashBasinLength","mm","Num","A2"]
[null,null,"盥洗盆宽度","WashBasinWidth","mm","Num","A2"]
[null,null,"盥洗盆深度","WashBasinDepth","mm","Num","A2"]
[null,"坐便器","坐便器数量","ToiletNum","个","Num","A2"]
[null,null,"坐便器长度","ToiletLength","mm","Num","A2"]
[null,null,"坐便器宽度","ToiletWidth","mm","Num","A2"]
[null,null,"坐便器高度","ToiletHeight","mm","Num","A2"," "]
[null,"蹲便器","蹲便器数量","SquattingPanNum","个","Num","A2"]
[null,null,"蹲便器长度","SquattingPanLength","mm","Num","A2"]
[null,null,"蹲便器宽度","SquattingPanWidth","mm","Num","A2"]
[null,null,"蹲便器高度","SquattingPanHeight","mm","Num","A2"]
[null,"浴缸","浴缸数量","BathtubNum","个","Num","A2"]
[null,null,"浴缸长度","BathtubLength","mm","Num","A2"]
[null,null,"浴缸宽度","BathtubWidth","mm","Num","A2"]
[null,null,"浴缸深度","BathtubDepth","mm","Num","A2"]
[null,"洗碗槽","洗碗槽数量","SinkNum","个","Num","A2"]
[null,null,"洗碗槽长度","SinkLength","mm","Num","A2"]
[null,null,"洗碗槽宽度","SinkWidth","mm","Num","A2"]
[null,null,"洗碗槽深度","SinkDepth","mm","Num","A2"]
[null,"吊顶","吊顶类型","CeilingType",null,"Enum","D1","1. 石膏板吊顶 2. 金属板吊顶 3. 玻璃吊顶 4. PVC板吊顶 5. 其他"]
[null,null,"吊顶长度","CeilingLength","mm","Num","A2"]
[null,null,"吊顶宽度","CeilingWidth","mm","Num","A2"]
[null,null,"吊顶厚度","CeilingThick","mm","Num","A2"]