{"text_format":"2","workbook":"xlsx","n_sheets":9,"sheets":["BA建筑设备控制系统","TV电视信号系统","MI多媒体信息发布系统  ","WT无线对讲系统   ","GM车库管理系统","LN本地网络系统","PM客流管理系统","TM租户管理系统","MA移动通信信号放大系统"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"BA建筑设备控制系统","index":0,"n_rows":33,"n_cols":10,"rows_kept":33,"cut":false,"hidden":false,"merged":[[27,0,30,1],[25,1,26,1],[31,0,31,1],[32,0,32,1],[0,0,0,9],[1,0,1,1],[22,1,24,1],[6,1,14,1],[15,1,21,1],[2,0,26,0],[2,1,5,1]]}
["建筑设备控制系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"网络","有无公网连接","isPublicNet",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"现场总线通讯协议","BusProtocol",null,"Str","M","B1"]
[null,null,"对接通讯协议","DockProtocol",null,"Str","M","B1"]
[null,"功能","功能类型","FuncType",null,"Enum","M","D1","1. 能源管理系统 2. 智慧物业管理系统 3. 配电监控系统 4. 租赁空间管理与付费系统 5. 环境及健康监测系统 6. BIM运维管理系统 7. 楼宇自控系统 99. 其他"]
[null,null,"关联系统","RelatedSys",null,"MEnum","M","D2","1. 中央制冷系统 2. 中央供暖系统 3. 空调末端系统 4. 通风系统 5. 厨房排油烟系统 6. 生活给水系统 7. 生活热水系统 8. 太阳能热水系统 9. 直饮水系统 10. 火灾报警系统 11. 紧急广播及背景音乐系统 12. 消防给水系统 13. 视频监控系统 14. 门禁系统 15. 变配电系统 16. 照明系统 17. 电梯系统 18. 备用电源系统 99. 其他 （可多选）"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]

{"sheet":"TV电视信号系统","index":1,"n_rows":36,"n_cols":10,"rows_kept":36,"cut":false,"hidden":false,"merged":[[30,0,33,1],[34,0,34,1],[35,0,35,1],[2,0,29,0],[0,0,0,9],[1,0,1,1],[2,1,5,1],[6,1,14,1],[15,1,21,1],[22,1,29,1]]}
["电视信号系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"电视信号","信号类型","SignalType",null,"Enum","S","D1","1. 数字信号 2. 模拟信号 99. 其他"]
[null,null,"信号源类型","SourceType",null,"MEnum","S","D2","1. 无线电视 2. 有线电视 3. 卫星电视 4. 本地播放器 99. 其他 （可多选）"]
[null,null,"接收电视台数量","ChannelNum ","个","Num","R","A2"]
[null,null,"有线电视干线类型","TrunkType",null,"Enum","M","D1","1. 射频同轴电缆 2. 光缆 3. HFC（混合光纤同轴电缆） 99. 其他"]
[null,null,"干线距离","TrunkLength","km","Num","R","A2"]
[null,null,"单位长度干线衰减率","TrunkDecayRate","dB(A)/km","Num","R","A2"]
[null,null,"终端个数","TerminalNum","个","Num","R","A2"]
[null,null,"系统带宽","SysBandWidth","Hz","Num","M","A2"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]

{"sheet":"MI多媒体信息发布系统  ","index":2,"n_rows":40,"n_cols":10,"rows_kept":40,"cut":false,"hidden":false,"merged":[[34,0,37,1],[38,0,38,1],[39,0,39,1],[0,0,0,9],[1,0,1,1],[22,1,25,1],[2,1,5,1],[6,1,14,1],[15,1,21,1],[2,0,33,0],[26,1,33,1]]}
["多媒体信息发布系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"软件系统","软件操作系统","OSType",null,"Enum","S","D1","1. LINUX 2. Windows 3. 安卓 4. MOS 5. Novell 99. 其他"]
[null,null,"支持视频格式","VideoFormatType",null,"MEnum","M","D2","1. WMV 2. MPG 3. DAT 4. VOB 5. AVI 6. RM 99. 其他 （可多选）"]
[null,null,"支持音频格式","AudioFormatType",null,"MEnum","M","D2","1. MP3 2. WMA 3. WAV 4. ASF 5. AAC 6. MP3Pro 7. VQF 8. FLAC 9. APE 10. MID 11. OGG 99. 其他 （可多选）"]
[null,null,"网络形式","NetType",null,"Enum","M","D1","1. 有线网络 2. 无线网络 99. 其他"]
[null,"终端设备","终端设备种类","TerminalType",null,"MEnum","S","D2","1. LED大屏 2. 普通显示屏 3. 广告屏 4. 终端查询机 99. 其他 （可多选）"]
[null,null,"LED大屏幕数量","LEDNum","个","Num","R","A2"]
[null,null,"普通显示屏数量","ScreenNum","个","Num","R","A2"]
[null,null,"广告屏数量","AdvertiseNum","个","Num","R","A2"]
[null,null,"终端查询机数量","InquiryNum","个","Num","R","A2"]
[null,null,"终端设备是否有信息交互功能","isTerminalInteractiveFunc",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"终端设备操作系统安装方式","TerminalOSInstallType",null,"Enum","R","D1","1. 嵌入式 2. 非嵌入式 99. 其他"]
[null,null,"终端交互方式","TerminalInteractiveType",null,"MEnum","M","D2","1. 触摸查询 2. 键盘查询 3. 声音查询 99. 其他 (可多选)"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]

{"sheet":"WT无线对讲系统   ","index":3,"n_rows":42,"n_cols":10,"rows_kept":42,"cut":false,"hidden":false,"merged":[[34,0,39,1],[40,0,40,1],[41,0,41,1],[0,0,0,9],[1,0,1,1],[2,1,5,1],[6,1,14,1],[15,1,21,1],[2,0,33,0],[22,1,33,1]]}
["无线对讲系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"对讲系统","通话信道","TalkChannelNum","个","Num","R","A2"]
[null,null,"系统带宽","SysBandWidth","MHz","Num","M","A2"]
[null,null,"手持对讲机数量","HandRadioNum","个","Num","R","A2"]
[null,null,"车载台数量","CarRadioNum","个","Num","R","A2"]
[null,null,"中继台数量","RelayStationNum","个","Num","R","A2"]
[null,null,"通讯系统类型 ","SignalType",null,"Enum","S","D1","1. 数字无线通讯系统 2. 模拟无线通讯系统 3. 数字模拟双模式 99. 其他"]
[null,null,"对讲机制式","FormatType",null,"Enum","R","D1","1. DPMR 2. DMR 3. TETRA 4. TDMA 99. 其他"]
[null,null,"呼叫功能类型","CallFuncType",null,"MEnum","R","D2","1. 个呼 2. 组呼 3. 全呼 99. 其他 （可多选）"]
[null,null,"遥毙功能","isRemoteInhibitFunc",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"迟后进入功能","isDelayEnterFunc",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"身份识别功能","isIdentifyFunc",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"GPS功能","isGPSFunc",null,"Bool","M","E1","0. 无 1. 有"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"信道使用状态","ChannelUseStatus",null,"Boolvs","M","L","0. 闲置 1. 使用"]
[null,null,"信道接入末端数","ChannelAccessTerminalNum","个","Insts","R","L"]
["设定参数"]
["报警消息"]

{"sheet":"GM车库管理系统","index":4,"n_rows":58,"n_cols":10,"rows_kept":58,"cut":false,"hidden":false,"merged":[[39,0,55,1],[56,0,56,1],[57,0,57,1],[0,0,0,9],[1,0,1,1],[22,1,26,1],[37,1,38,1],[27,1,36,1],[2,0,38,0],[2,1,5,1],[6,1,14,1],[15,1,21,1]]}
["车库管理系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"车库出入口","车场准入类型","AccessType ",null,"MEnum","M","D2","1. 常用卡 2. 临时卡 99. 其他 (可多选)"]
[null,null,"有无图像识别功能","isImageIdentifyFunc",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"有无自助缴费功能","isSelfHelpPayFunc",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"停电应急措施","PowerFailureMeasure",null,"Str","R","B1"]
[null,null,"监控资料存放时间","MonitorDataStorageTime","天","Num","M","A2"]
[null,"车位","有无车库区域划分","isParkingZone",null,"Bool","R","E1","0. 无 1. 有"]
[null,null,"有无固定车位划分","isFixedParking",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"车位总数量","TotParkingNum","个","Num","S","A2"]
[null,null,"固定车位数量","FixedParkingNum","个","Num","S","A2"]
[null,null,"临时车位数量","TemporaryParkingNum","个","Num","S","A2"]
[null,null,"有无机械车位设备","isMechanicalParking",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"机械车位数量","MechanicalParkingNum","个","Num","S","A2"]
[null,null,"有无带充电桩车位","isEVParking",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"带充电桩车位数量","EVParkingNum","个","Num","S","A2"]
[null,null,"充电桩总配电容量","EVPowerCap","kW","Num","M","A2"]
[null,"寻车","有无反向寻车功能","isReverseSearchFunc",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"停车引导方式","ParkingGuideMode",null,"Bool","M","D1","1. 提示所有空位 2. 分配指定区域 3. 分配指定车位 99. 其他"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"工作电压","U","V","Inst","R","L"]
[null,null,"机械车位工作电流","MechanicalParkingI","A","Inst","M","L"]
[null,null,"充电桩充电电流","EVParkingI","A","Inst","M","L"]
[null,null,"机械车位耗电功率","MechanicalParkingP","kW","Inst","S","L"]
[null,null,"充电桩充电功率","EVParkingP","kW","Inst","S","L"]
[null,null,"停车数量","CarNum","台","Inst","S","L"]
[null,null,"剩余临时车位数量","RemainTemporaryParkingNum","个","Inst","S","L"]
[null,null,"剩余机械车位数量","RemainMechanicalParkingNum","个","Inst","S","L"]
[null,null,"剩余带充电桩车位数量","RemainEVParkingNum","个","Inst","S","L"]
[null,null,"单位时间进车数量","CarEnterFlow","车次/h","Inst","M","M"]
[null,null,"单位时间出车数量","CarExitFlow","车次/h","Inst","M","M"]
[null,null,"累计耗电量","AccTotElecConsum","kWh","Acc","R","M"]
[null,null,"累计充电量","AccEVElecConsum","kWh","Acc","R","M"]
["设定参数"]
["报警消息"]

{"sheet":"LN本地网络系统","index":5,"n_rows":23,"n_cols":10,"rows_kept":23,"cut":false,"hidden":false,"merged":[[17,0,20,1],[21,0,21,1],[22,0,22,1],[2,1,4,1],[0,0,0,9],[1,0,1,1],[6,1,7,1],[2,0,16,0],[12,1,16,1],[9,1,11,1]]}
["本地网络系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","网络","网络优化技术类型","NetOptType",null,"Enum","M","D1","1. VLAN 2. ACL 3. NAL 4. STUB 5. NSSA 99. 其他"]
[null,null,"网络路由器协议","RouterProtocolType",null,"MEnum","S","D2","1. OSPF 2. EIGRP 3. BGP 4. RIF 99. 其他 (可多选)"]
[null,null,"网络路由器协议描述","RouterProtocolInfo",null,"Str","M","B1"]
[null,"核心层","核心层路由器数量","CoreRouterNum","台","Num","R","A2"]
[null,"汇聚层","汇聚层交换机数量","ConvergenceSwitchNum","台","Num","R","A2"]
[null,null,"汇聚层路由器数量","ConvergenceRouterNum","台","Num","R","A2"]
[null,"接入层","接入层交换机数量","AccessSwitchNum","台","Num","R","A2"]
[null,"无线","无线控制器数量","WirelessCtrlerNum","台","Num","R","A2"]
[null,null,"无线信号AP","WirelessAPNum","台","Num","M","A2"]
[null,null,"无线poe交换机数量","WirelessPoeSwitchNum","台","Num","M","A2"]
[null,"VLAN","VlAN区域数量","VlanZoneNum","个","Num","R","A2"]
[null,null,"VLANDNS服务器","DNS",null,"Str","M","B1"]
[null,null,"VLAN区域网段","RegionalSegment",null,"Strs","M","B2"]
[null,null,"VLAN区域网关","RegionalGateway",null,"Strs","S","B2"]
[null,null,"VLAN区域子网掩码","RegionalSubnetMask",null,"Strs","S","B2"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]

{"sheet":"PM客流管理系统","index":6,"n_rows":39,"n_cols":10,"rows_kept":39,"cut":false,"hidden":false,"merged":[[37,0,37,1],[38,0,38,1],[0,0,0,9],[1,0,1,1],[2,0,27,0],[2,1,5,1],[6,1,14,1],[15,1,21,1],[22,1,27,1],[28,0,36,1]]}
["客流管理系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"客流探测","人流探测器布点数","PeopleFlowSensorNum","个","Num","S","A2"]
[null,null,"是否追踪到个人","isIndividualTrack",null,"Bool","S","E1","0. 否 1. 是"]
[null,null,"是否有面部识别功能","isFaceRecognition",null,"Bool","S","E1","0. 否 1. 是"]
[null,null,"客流统计综合精度","StatistAccuracy","%","Num","M","A2"]
[null,null,"离线存储数据时长","StorageTime","天","Num","M","A2"]
[null,null,"人流探测器点位布置图","PeopleFlowSensorLocation",null,"Attachment","M","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"单位时间进入人次","UnitTimeInNum","人次/15min","Inst","S","L"]
[null,null,"单位时间离开人次","UnitTimeOutNum","人次/15min","Inst","S","L"]
[null,null,"当前停留人数","CurrentStayNum","人","Inst","M","M",null,"进-出"]
[null,null,"平均滞留时间","AveStayTime","min","Inst","M","M",null,"针对具有追踪功能的设备"]
[null,null,"累计进入人次","AccInNum","人次","Acc","M","M"]
["设定参数"]
["报警消息"]

{"sheet":"TM租户管理系统","index":7,"n_rows":30,"n_cols":10,"rows_kept":30,"cut":false,"hidden":false,"merged":[[24,0,27,1],[28,0,28,1],[29,0,29,1],[0,0,0,9],[1,0,1,1],[2,0,23,0],[2,1,5,1],[6,1,14,1],[15,1,21,1],[22,1,23,1]]}
["租户管理系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"租户管理","最大管理租户数量","MaxTenentNum","个","Num","M","A2"]
[null,null,"租户管理功能","TenentManageFunc",null,"Menum","S","D2","1. 租赁管理 2. 电费管理 3. 水费管理 4. 热水费管理 5. 燃气费管理 6. 采暖费管理 7. 空调费管理 99. 其他 （可多选）"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]

{"sheet":"MA移动通信信号放大系统","index":8,"n_rows":32,"n_cols":10,"rows_kept":32,"cut":false,"hidden":false,"merged":[[30,0,30,1],[31,0,31,1],[0,0,0,9],[1,0,1,1],[2,0,25,0],[2,1,5,1],[6,1,14,1],[15,1,21,1],[22,1,25,1],[26,0,29,1]]}
["移动通信信号放大系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","软件厂家","软件类型","SoftwareType",null,"Enum","S","D1","1. 网页版 2. 本地版 99. 其他"]
[null,null,"软件开发商","SoftwareDeveloper",null,"Str","S","B1"]
[null,null,"软件版本号","SoftwareVersion",null,"Str","M","B1"]
[null,null,"序列号","SoftwareSerial",null,"Str","M","B1"]
[null,"供应购买","供应商单位名称","Supplier",null,"Str","S","B1"]
[null,null,"供应商联系电话","SupplierPhone",null,"Str","M","B1"]
[null,null,"供应商联系人","SupplierContactor",null,"Str","M","B1"]
[null,null,"供应商网址","SupplierWeb",null,"Str","R","B1"]
[null,null,"供应商传真","SupplierFax",null,"Str","R","B1"]
[null,null,"供应商电子邮件","SupplierEmail",null,"Str","R","B1"]
[null,null,"合同编号","SupplierContractID",null,"Str","M","B1"]
[null,null,"资产编号","AssetID",null,"Str","R","B1"]
[null,null,"采购价格","PurchasePrice","元","Num","R","A2"]
[null,"运行维保","软件运维负责人","Principal",null,"Str","M","B1"]
[null,null,"维修商单位名称","Maintainer",null,"Str","S","B1"]
[null,null,"维修商联系电话","MaintainerPhone",null,"Str","M","B1"]
[null,null,"维修商联系人","MaintainerContactor",null,"Str","M","B1"]
[null,null,"维修商网址","MaintainerWeb",null,"Str","R","B1"]
[null,null,"维修商传真","MaintainerFax",null,"Str","R","B1"]
[null,null,"维修商电子邮件","MaintainerEmail",null,"Str","R","B1"]
[null,"移动信号放大","覆盖面积","CoverageArea","m2","Num","S","A2"]
[null,null,"天线数量","AntennaQuantity","个","Num","S","A2"]
[null,null,"工作频段范围","WorkingBandRange","MHz","Num","S","A6"]
[null,null,"增强移动网络类型","EnhancedMobileNetworkTypes",null,"MEnum","S","D2","1. GSM900 2. GSM1800 3. GSM1900 4. CDMA 5. WCDMA 6. TD-SCDMAECDO 7. FDD-LTE 8. TDD-LTE 99. 其他 （可多选）"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
["设定参数"]
["报警消息"]