{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":68,"n_cols":17,"rows_kept":68,"cut":false,"hidden":false,"merged":[]}
["专业","系统","系统编码","设备类型","设备类型编码","分级标签","信息点","信息点编码","单位","类型","优先级","输入方式","字典选择","备注说明（参数）","参数编码和值","下限","上限"]
["OT","空调人防系统","ACAD",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","空调末端系统","ACAT",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","中央供冷系统","ACCC",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","中央供热系统","ACCH",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","厨房排油烟系统","ACKL",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","通风系统","ACVT",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","围护结构","CFBE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","建筑附件","CFCA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","土建结构","CFCS",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","室内装饰","CFID",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","停车场","CFPK",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","紧急广播及背景音乐系统","FFBM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","漏电火灾报警系统","FFEA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","应急照明及疏散指示系统","FFEE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","火灾报警系统","FFFA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","灭火器系统","FFFE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","防火卷帘门系统","FFFR",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","消防给水系统","FFFS",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","燃气报警系统","FFGA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","气体灭火系统","FFGE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","厨房自动灭火系统","FFKE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","防排烟系统","FFSC",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","气体管道及附件","OTAA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","执行器","OTAE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","液体管道及附件","OTLA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","强电线路及附件","OTSA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","传感器","OTSE",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","弱电线路及附件","OTWA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","其他系统","OTXX",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","备用电源系统","SEBP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","柴发机房系统","SEDG",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","电梯系统","SEEL",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},0,0]
["OT","机房动力系统","SEEP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","雷电防护系统","SELP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","照明系统","SELT",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","室外动力系统","SEOP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","强电人防系统","SESD",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","变配电系统","SETD",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},0,0]
["OT","租户配电系统","SETP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","门禁系统","SPEG",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","入侵报警系统","SPIA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","巡更系统","SPNP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","视频监控系统","SPVS",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","建筑设备控制系统","WEBA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","收银管理系统","WECM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","能源管理系统","WEEM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","车库管理系统","WEGM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","本地网络系统","WELN",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","移动通信信号放大系统","WEMA",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","多媒体信息发布系统","WEMI",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","气象监测系统","WEMM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","办公系统","WEOF",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","客流管理系统","WEPM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","租户管理系统","WETM",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","电视信号系统","WETV",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","无线对讲系统","WEWT",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","直饮水系统","WSDD",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","生活热水系统","WSDH",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","生活给水系统","WSDW",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","燃气系统","WSFG",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","中水系统","WSRW",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","喷灌系统","WSSI",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","污水处理系统","WSST",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","给排水人防系统","WSWD",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","给排水电伴热系统","WSWH",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","泳池系统","WSWP",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]
["OT","水景系统","WSWS",null,null,"在线状态",null,"onlineStatus",{"$nulls":7},1,1]