{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":65,"n_cols":12,"rows_kept":65,"cut":false,"hidden":false,"merged":[[58,10,59,10],[42,10,44,10],[26,11,29,11],[30,11,33,11],[39,11,40,11],[26,10,29,10],[30,10,33,10],[35,10,38,10],[39,10,40,10],[58,11,59,11],[54,11,55,11],[48,11,49,11],[46,11,47,11],[42,11,44,11],[35,11,38,11],[39,6,40,6],[42,6,44,6],[3,1,4,1],[3,2,4,2],[24,6,25,6],[5,6,9,6],[10,6,12,6],[13,6,14,6],[15,6,16,6],[24,1,25,1],[24,2,25,2],[26,1,29,1],[26,2,29,2],[30,1,33,1],[30,2,33,2],[20,2,21,2],[24,7,25,7],[26,6,29,6],[30,6,33,6],[35,6,38,6],[35,1,38,1],[35,2,38,2],[58,1,59,1],[58,2,59,2],[52,1,53,1],[52,2,53,2],[54,1,55,1],[54,2,55,2],[56,1,57,1],[56,2,57,2],[46,1,47,1],[46,2,47,2],[48,1,49,1],[48,2,49,2],[50,1,51,1],[50,2,51,2],[58,6,59,6],[5,1,9,1],[5,2,9,2],[10,1,12,1],[10,2,12,2],[13,1,14,1],[13,2,14,2],[39,1,40,1],[39,2,40,2],[42,1,44,1],[42,2,44,2],[15,2,16,2],[20,1,21,1],[22,1,23,1],[22,2,23,2],[15,1,16,1],[46,6,47,6],[46,10,47,10],[48,6,49,6],[50,6,51,6],[54,6,55,6],[48,10,49,10],[54,10,55,10]]}
[]
[null,"关系类型","关系名称","边类型","边名称","边方向","主要连接对象","逻辑概述","管道系统"]
[null,"ElementSpinFloor","元空间所在楼层",1,"位于",1,"楼层→元空间","此处空间为元空间"]
[null,"EquipinFloor","设备所在楼层",1,"位于",1,"楼层→设备","此处的设备包括设备和部件"]
[null,null,null,0,"不确定",0,"楼层-设备","此处的设备包括设备和部件"]
[null,"ElementSpNeighborhood","空间邻接关系",1,"隔断无门窗",0,"元空间-元空间","几何邻接，由墙、幕墙、楼板、玻璃隔断分隔"]
[null,null,null,2,"隔断有门",0,null,"几何邻接，有门"]
[null,null,null,3,"隔断有窗",0,null,"几何邻接，有窗"]
[null,null,null,4,"隔断有门窗",0,null,"几何邻接，有门和窗"]
[null,null,null,5,"连通",0,null,"几何邻接，无完整分隔"]
[null,"TrafficNetwork","建筑交通网络",1,"普通",0,"元空间-元空间","空间邻接关系-2,4,5"]
[null,null,null,2,"消防常开",0,null,"空间邻接关系-2,4，且消防常开门"]
[null,null,null,3,"消防常关",0,null,"空间邻接关系-2,4，且消防常关门"]
[null,"ConvectionNetwork","空气流通网络",1,"自然对流",0,"元空间-元空间"]
[null,null,null,2,"机械通风",1]
[null,"RadiationNetwork","光照辐射网络",1,"连通",0,"元空间-元空间"]
[null,null,null,2,"透明隔断",0]
[null,"EquipinElementSp","设备所在空间",1,"位于",1,"元空间→设备","此处的设备包括设备和部件"]
[null,"EquipforElementSp","设备服务空间",1,"服务于",1,"设备→元空间","此处的设备包括设备和部件"]
[null,"SystemEquip","系统包含的设备",1,"包括",1,"系统→设备","此处的设备包括设备和部件"]
[null,"LUDistribution","低压配电系统",1,"普通连接",1,"变压器-TDTF;低压开关柜-TDLS","变压器→低压开关柜（进线柜）\n低压开关柜→低压开关柜"]
[null,null,null,2,"互备连接",0,"低压开关柜-TDLS","低压开关柜（进线柜）- 低压开关柜（母联柜）"]
[null,"HUDistribution","高压变配电系统",1,"普通连接",0,"变压器-TDTF;高压开关柜-TDHS;直流屏-TDDS","高压开关柜 - 变压器\n高压开关柜 - 高压开关柜\n高压开关柜 - 直流屏"]
[null,null,null,2,"互备连接",0,"高压开关柜-TDHS","高压开关柜 - 分段主柜\n高压开关柜 - 分段辅柜"]
[null,"EquipPower","设备电源",1,"常规",1,"低压开关柜→设备","设备暂时认为是所有设备和部件"]
[null,null,null,2,"备用",1]
[null,"ChillWaterLoop","空调冷冻水环路",1,"供水",1,"离心式冷水机组-CCCC;螺杆式冷水机组-CCSC;吸收式冷水机组-CCAC;空气源热泵-CCAH;水源热泵-CCWH;地源热泵-CCGH;供冷冷冻水泵-CCCP;供冷补水泵-CCFP;供冷定压补水装置-CCCF;供冷换热器-CCHE;供冷分水器-CCDB;供冷集水器-CCCL;空调机组-ATAH;新风机组-ATFU;风机盘管-ATFC;散热器-ATRD",null,"冷冻水供水管",null,"冷冻水回水管|0|2;冷冻水供水管|1|1",0]
[null,null,null,2,"回水",1,null,null,"冷冻水回水管"]
[null,null,null,3,"旁通",0]
[null,null,null,4,"补水",1]
[null,"CoolingWaterLoop","空调冷却水环路",1,"供水",1,"离心式冷水机组-CCCC;螺杆式冷水机组-CCSC;吸收式冷水机组-CCAC;地源热泵-CCGH;冷却塔-CCOT;供冷冷却水泵-CCOP;地埋管-CCGHBP",null,"冷却水供水管",null,"冷却水回水管|0|2;冷却水供水管|1|1",0]
[null,null,null,2,"回水",1,null,null,"冷却水回水管"]
[null,null,null,3,"旁通",0]
[null,null,null,4,"补水",1]
[null,"CondWaterNetwork","空调冷凝水网络",1,"排水",1,"空调机组-ATAH;新风机组-ATFU;风机盘管-ATFC;",null,"冷凝水管",null,"冷凝水管|0|1",0]
[null,"HeatWaterLoop","采暖水环路",1,"供水",1,"供热燃煤锅炉-CHCB;供热燃油锅炉-CHFB;供热燃气锅炉-CHGB;供热电锅炉-CHEB;供热水泵-CHHP;供热补水泵-CHFP;供热定压补水装置-CHCF;供热换热器-CHHE;供热分水器-CHDB;供热集水器-CHCL;空调机组-ATAH;新风机组-ATFU;风机盘管-ATFC;地板空调器-ATFA;散热器-ATRD;地板采暖设备-ATFH",null,"空调热水供水管",null,"空调热水回水管|0|2;空调热水供水管|1|1",0]
[null,null,null,2,"回水",1,null,null,"空调热水回水管"]
[null,null,null,3,"旁通",0]
[null,null,null,4,"补水",1]
[null,"ACAirNetwork","空调风管网",1,"送风",1,"空调机组-ATAH;风机盘管-ATFC;VAVBOX-ATVA;空调风口-ATIO",null,"空调送风",null,"回风风管|0|2;送风风管|1|1",1]
[null,null,null,2,"回风",1,null,null,"空调回风"]
[null,"FreshAirNetwork","新风管网",1,"送风",1,"新风机组-ATFU;空调风口-ATIO",null,"新风",null,"新风|1|1",1]
[null,"VentNetwork","通风管网",1,"送风",1,"通风风机-VTSF;通风风口-VTIO;厨房风机-KLSF;厨房风口-KLIO;人防风机-ADSF;人防风口-ADIO",null,"通风送风",null,"通风排风|0|2;通风送风|1|1",1]
[null,null,null,2,"排风",1,null,null,"通风排风"]
[null,null,null,3,"不确定",0]
[null,"VRFNetwork","多联机系统",1,"供制冷剂",1,"多联机室外机-ATVO → 多联机室内机-ATVI",null,null,null,"多联机管道|1|1",0]
[null,"SupplyWaterNetwork","给水网络",1,"给水",1,"生活给水供水机组-DWSU;生活给水储水箱-DWWT",null,"给水管",null,"给水管|1|1",0]
[null,null,null,2,"旁通",0]
[null,"DrainingWaterNetwork","排水网络",1,"排水",1,"污废水一体式提升机组-STLU;潜污泵-STSP;化粪池-STST;集水坑-STCP",null,"排水管",null,"排水管|0|1",0]
[null,null,null,2,"旁通",0]
[null,"RecycleWaterNetwork","中水系统",1,"排水",1,"中水供水机组-RWSU;中水处理机组-RWTU;中水储水箱-RWWT;雨水收集设备-RWRC",null,"中水管",null,"中水管|0|1",0]
[null,null,null,2,"旁通",0]
[null,"DrinkingWaterNetwork","直饮水网络",1,"直饮水",1]
[null,null,null,2,"旁通",0]
[null,"DHWNetwork","生活热水网络",1,"供热水",1,"生活热水燃煤锅炉-DHCB;生活热水燃油锅炉-DHFB;生活热水燃气锅炉-DHGB;生活热水电锅炉-DHEB;生活热水燃气热水器-DHGH;生活热水电热水器-DHEH;生活热水太阳能集热器-DHSC;生活热水辅热设备-DHHA;生活热水换热器-DHHE;生活热水水泵-DHHP;生活热水储水箱-DHWT;生活热水空气源热泵-DHAH",null,"生活热水供水管",null,"生活热水供水管|1|1",0]
[null,null,null,2,"旁通",0]
[null,"GasNetwork","燃气系统",1,"供气",1]
[null,null,null,2,"旁通",0]
[null,"FireWaterNetwork","消防供水网络",1,"供水",1,"消火栓供水加压泵-FSHP;喷淋供水加压泵-FSSP;水喷雾供水加压泵-FSMP;停机坪消防供水加压泵-FSAP;消防水炮设备-FSWM;消防稳压设备-FSPS;消火栓箱-FSHB;室外消火栓-FSOH;末端试水装置-FSET",null,"消防供水管",null,"消防供水管|1|1",0]
[null,null,null,2,"旁通",0]
[null,"FireVentNetwork","消防排烟网络",1,"排风",1,"防排烟风机-SCEF;排烟风口-SCIO;防火排烟阀-SCSD",null,"消防排烟排风管",null,"消防排烟排风管|0|1",1]
[null,"SensorNetwork","传感器通信网络",1,"连接",1]
[null,"ControlEquipNetwork","控制设备网络",1,"连接",1]
[null,"ControlRelation","对象受控关系",1,"连接",1,"楼控控制面板-BACP → 设备\n楼控网络控制器-BANC → 设备","此处的设备包括设备和部件"]
[null,"BeaconinElementSp","元空间与信标关系",1,"位于",1,"信标→元空间"]

{"sheet":"Sheet2","index":1,"n_rows":34,"n_cols":4,"rows_kept":34,"cut":false,"hidden":false,"merged":[]}
[]
[null,"关系类型","关系名称","边类型"]
[null,"ElementSpinFloor","元空间所在楼层","{1,位于,1}"]
[null,"EquipinFloor","设备所在楼层","{1,位于,1;2,不确定,0}"]
[null,"ElementSpNeighborhood","空间邻接关系","{1,隔断无门窗,0;2,隔断有门,0;3,隔断有窗,0;4,隔断有门窗,0;5,连通,0}"]
[null,"TrafficNetwork","建筑交通网络","{1,普通,0;2,消防常开,0;3,消防常关,0}"]
[null,"ConvectionNetwork","空气流通网络","{1,自然对流,0;2,机械通风,1}"]
[null,"RadiationNetwork","光照辐射网络","{1,连通,0;2,透明隔断,0}"]
[null,"EquipinElementSp","设备所在空间","{1,位于,1}"]
[null,"EquipforElementSp","设备服务空间","{1,服务于,1}"]
[null,"SystemEquip","系统包含的设备","{1,包括,1}"]
[null,"LUDistribution","低压配电系统","{1,普通连接,1;2,互备连接,0}"]
[null,"HUDistribution","高压变配电系统","{1,普通连接,0;2,互备连接,0}"]
[null,"EquipPower","设备电源","{1,常规,1;2,备用,1}"]
[null,"ChillWaterLoop","空调冷冻水环路","{1,供水,1;2,回水,1;3,旁通,0;4,补水,1}"]
[null,"CoolingWaterLoop","空调冷却水环路","{1,供水,1;2,回水,1;3,旁通,0;4,补水,1}"]
[null,"CondWaterNetwork","空调冷凝水网络","{1,排水,1}"]
[null,"HeatWaterLoop","采暖水环路","{1,供水,1;2,回水,1;3,旁通,0;4,补水,1}"]
[null,"ACAirNetwork","空调风管网","{1,送风,1;2,回风,1}"]
[null,"FreshAirNetwork","新风管网","{1,送风,1}"]
[null,"VentNetwork","通风管网","{1,送风,1;2,排风,1;3,不确定,0}"]
[null,"VRFNetwork","多联机系统","{1,供制冷剂,1}"]
[null,"SupplyWaterNetwork","给水网络","{1,给水,1;2,旁通,0}"]
[null,"DrainingWaterNetwork","排水网络","{1,排水,1;2,旁通,0}"]
[null,"RecycleWaterNetwork","中水系统","{1,排水,1;2,旁通,0}"]
[null,"DrinkingWaterNetwork","直饮水网络","{1,直饮水,1;2,旁通,0}"]
[null,"DHWNetwork","生活热水网络","{1,供热水,1;2,旁通,0}"]
[null,"GasNetwork","燃气系统","{1,供气,1;2,旁通,0}"]
[null,"FireWaterNetwork","消防供水网络","{1,供水,1;2,旁通,0}"]
[null,"FireVentNetwork","消防排烟网络","{1,排风,1}"]
[null,"SensorNetwork","传感器通信网络","{1,连接,1}"]
[null,"ControlEquipNetwork","控制设备网络","{1,连接,1}"]
[null,"ControlRelation","对象受控关系","{1,连接,1}"]
[null,"BeaconinElementSp","元空间与信标关系","{1,位于,1}"]